Hanwha Vision is a global leading supplier of solutions for IP and analog video surveillance. Building on the company's history of innovation, Hanwha Vision is dedicated to providing systems solutions with the highest levels of performance, reliability and cost-effectiveness. Hanwha Vision is committed to the continued development of innovative systems products for professional security applications.

For additional information, https://www.hanwhavision.com/en/, https://hanwhavisionamerica.com

- PRODUCTS

  - EQUIPMENT

    - Manufacturer: Hanwha Vision (https://www.hanwhavision.com/en/, https://hanwhavisionamerica.com)

    - Model: SCV-3120

    - Alternates: None

  - GENERAL DESCRIPTION

    - All equipment and materials used shall be standard components that are regularly manufactured and used in the manufacturer’s system.

    - All systems and components shall have been thoroughly tested and proven in actual use.

    - All systems and components shall be provided with the availability of a toll-free (U.S. and Canada), 24-hour technical assistance program (TAP) from the manufacturer.  The TAP shall allow for immediate technical assistance for either the dealer/installer or the end user at no charge for as long as the product is installed.

    - All systems and components shall be provided with a one-day turnaround repair express and 24-hour parts replacement. The repair and parts express shall be guaranteed by the manufacturer on warranty and nonwarranty items.

    - Camera – The camera device shall have the following physical and performance properties

      - This high-resolution camera with wide dynamic range (WDR) function shall generate 600 TV Lines of resolution. The camera shall operate in low light conditions (0.7 Lux).

      - The camera shall have a 12x optical zoom (3.6 ~ 44.3 mm).

      - The camera shall support virtual progressive scan (VPS), Intelligent Video Analytics, privacy masking and coaxial control functions.

      - The camera shall have a vandal-resistant enclosure with heater, and be configured for flush or surface mounting, shall have an IP66 protection level.

      - The camera shall provide customizable OSD which shall be available in English, Spanish, French, German, Korea, Japanese Portuguese, Italian, Chinese, Russian, Polish, Czech, Romanian, Serbian, Danish, Swedish and Turkish.

  - DETAILED SPECIFICATIONS

    - VIDEO SPECIFICATIONS

      - Imaging Device: 1/4” Double scan CCD

        - Total Pixels: NTSC 811 (H) x 508 (V), PAL 795 (H) x 596 (V)

        - Effective Pixels: NTSC 768 (H) x 494 (V), PAL 752 (H) x 582 (V)

      - Scanning system: Interlace

      - Synchronization: Internal, Line lock

      - Frequency: NTSC (H 15.734 KHz, V 59.94Hz), PAL (H 15.625 KHz, V 50Hz)

      - Horizontal Resolution: 600TV Lines (Color mode), 700TV Lines(B/W mode)

      - Min. Illumination

        - Color: 0.7Lux (50IRE@F1.65), 0.07Lux (Sens-up, 512x)

        - B/W: 0.001Lux (50IRE@F1.65)

      - S / N (Y signal): 52dB (AGC off, Weight on)

      - Video Output: CVBS 1.0 Vp-p, 75Ω composite

    - 2.05: LENS SPECIFICATIONS

      - Zoom Ratio: 12x (Optical), 16x(Digital)

      - Focal Length: 3.69 ~ 44.32mm

      - Max. Aperture Ratio: 1.65(Wide) ~ 3.7(Tele)

      - Angular Field of View

        - H: 54.44°(Wide) ~ 4.64°(Tele)

        - V: 41.42°(Wide) ~ 3.52°(Tele)

      - Min. Object Distance: 1m(3.28ft)

      - Lens Type: DC auto iris

      - Focus: Auto, Manual, One AF

    - PAN / TILT / ROTATE SPECIFICATIONS

      - Pan Range: 0º ~ 355º

      - Tilt Range: 0º ~ 90º

      - Rotate Range: 0º ~ 355º

    - 2.07: OPERATIONAL SPECIFICATIONS

      - A. On-Screen Display

        - NTSC: Korean, English, Japanese, Spanish, French and Portuguese

        - PAL: English, French, German, Spanish, Italian, Chinese, Russian, Polish, Czech, Romanian, Serbian, Swedish, Danish, Turkish, and Portuguese

      - Camera Title: Off / On (Displays 15 characters)

      - Day & Night: Auto (ICR) / Color / B/W / External

      - Digital Noise Reduction: Adaptive 2D + 3D (off/ low/ medium / high / user)

      - Wide Dynamic Range: 128x(NTSC) / 160x(PAL)

      - Backlight Compensation: Off / BLC / WDR

      - Motion detection: Off / On

      - Digital Noise Reduction: Motion adaptive noise reduction (2D + 3D)

      - Privacy Masking: Off / On (12 programmable zones)

      - Sens-up (Frame Integration): 2x ~ 512x

      - Gain Control: Off / Low / Middle / High

      - White Balance: ATW / Manual, Indoor / Outdoor / AWC (1,800ºK ~ 10,500ºK)

      - Electronic Shutter Speed

        - NTSC: 1/60 ~ 1/120K sec

        - PAL: 1/50 ~ 1/120K sec

      - Flip / Mirror: Off / On

      - Reverse: H-Rev(Off / On)

      - Protocol: Samsung-T/E, Pelco-D/P, Panasonic, Bosch, Honeywell, Vicon

    - ELECTRICAL SPECIFICATIONS

      - Input Voltage: Dual 12V DC / 24V AC

      - Power Consumption: Max. 4 W

    - ENVIRONMENTAL SPECIFICATIONS

      - Operating Temperature: -10°C ~ +55°C (+14°F ~ +131°F)

      - Operating Humidity: Less than 90% RH

    - MECHANICAL SPECIFICATIONS

      - Dimension: Ø160 x 134.5mm

      - Weight: 1.22kg

    - CERTIFICATIONS:

      - NTSC: FCC (Class A), UL/CUL Listed

      - PAL: CE (Class A), UL/CUL Listed

END OF SECTION

10