SNB 7004 3 MEGAPIXEL NETWORK CAMERA

TECHNICAL SPECIFICATIONS	SECURITY SYSTEM

DIVISION – 28 ELECTRONIC SAFETY AND SECURITY

LEVEL 1__28 20 00 ELECTRONIC SURVEILLANCE

LEVEL 2__28 23 00 VIDEO SURVEILLANCE

LEVEL 3__28 23 29 VIDEO SURVEILLANCE REMOTE DEVICES AND SENSORS

PART 2 – PRODUCTS

2.01	GENERAL

A.	All equipment and materials used shall be standard components that are regularly manufactured and used in the manufacturer’s system.

B.	All systems and components shall have been thoroughly tested and proven in actual use.

C.	All systems and components shall be provided with the availability of a toll-free (U.S. and Canada), 24-hour technical assistance program (TAP) from the manufacturer. The TAP shall allow for immediate technical assistance for either the dealer/installer or the end user at no charge for as long as the product is installed.

2.02	SNB 7004 3 MEGAPIXEL NETWORK CAMERA

- The camera shall be of a bodied type suitable for installation internally or within an external housing. The camera will accept CS or C mount lenses with a Direct Drive Auto Iris. The camera shall be ivory & black in appearance. A C mount adaptor will be included with the product.

- The network camera shall feature up to 3 Mega Pixel resolution in a 16:9 format. 4:3 format shall also be available in smaller resolutions.

- The camera should be capable of capturing and transmitting  an image size of 1920 x 1080 at 60 images per second.

2.03	CAMERA

A. Imaging Device	1/ 2.8” PS Exmor 3.2M CMOS

B. Total Pixels 	2,065(H) x 1,565(V)

C. Effective Pixels 	2,065(H) x 1,553(V)

D. Scanning System	Progressive

E. Min. Illumination

1. Color				0.1 Lux (F1.2, 50IRE),

0.06Lux (F1.2, 30IRE)

2. B/W 				0.01 Lux (F1.2, 50IRE)

0.006 Lux (F1.2, 30IRE)

F. S / N Ratio	50dB

G. Video Output	CVBS : 1.0 Vp-p / 75Ω composite, 704x480(N), 				704x576(P), for installation

- DIP connector type

2.04	LENS TYPE

A. Lens Type	Simple Focus / DC Auto Iris, P-Iris

B. Mount Type	C/CS

C. Focus Control	Simple Focus / Manual

- Remote control via network ,Button control

(Manual, Simple Focus, Day&Night)

2.05	OPERATION

A. Camera Title 	Off / On (Displayed up to 45 characters)

B. Day & Night 	Auto (ICR) / Color / B/W / External / Schedule

C. Backlight Compensation		Off, BLC, WDR

D. Wide Dynamic Range 	120dB

E. Contrast Enhancement 	SSDR (Samsung Super Dynamic Range) (Off / On)

F. Digital Noise Reduction 	SSNRIII (2D + 3D noise filter) (Off  / On)

G. Motion Detection 	Off / On (4ea 4 Points Polygonal zones)

H. Privacy Masking 			Off / On (32ea Rectangular zones)

I. Gain Control 	Off / Low / Middle / High

J. White Balance 	ATW / AWC / Manual / Indoor / Outdoor

K. Electronic Shutter Speed 	Minimum / Maximum / Anti flicker (1 ~ 1/12,000sec)

L. Flip / Mirror 	Off, On

M. Intelligent Video Analytics	Tampering, Virtual Line, Enter/Exit, Appear / Disappear,

Audio Detection, Face Detection with metadata

N. Alarm I/O 	Input 1ea / Output 1ea

O. Remote Control Interface	RS-485

P. RS-485 Protocol	Samsung-T/E, Pelco-P/D, Sungjin, Panasonic, Honeywell, AD, Vicon, GE, Bosch

Q. Alarm Triggers 	Motion detection, Tampering, Audio Detection, Face 			Detection, Video Analytics, Alarm Input, Network 			Disconnection

R. Alarm Events	File upload via FTP and E-Mail Notification via E-Mail, local storage(SD/SDHC/SDXC) recording at Network disconnected & Event (Alarm Triggers) External output

S. Defog	Auto/Manual/Off

T. Digital Image Stabilization	Off / On

2.06	NETWORK PROTOCOL

A. Ethernet 	RJ-45 (10/100Base-T)

B. Video Compression Format 	H.264(MPEG-4 part 10/AVC), MJPEG

C. Resolution 	2048 x 1536 / 1920x1080 / 1600x1200 / 1280x1024 			/ 1280x960 / 1280x720 / 1024x768 / 800x600 / 800x450 			/ 640x480 / 640x360 /  320x240 / 320x180

D. Max. Framerate

1. H.264	Max 30fps@2048x1536, Max 60fps at all resolutions

2. Motion JPEG			Max. 10fps@2048 x 1536Max. 15fps@1920 x 1080,

1600 x 1200, 1280 x 1024, 1280 x 960, 1280 x 720,

1024 x 768Max. 30fps@800 x 600, 800 x 450, 				640 x 480, 640 x 360, 320 x 240, 320 x 180

E. Smart Codec	Manual mode (Area-based : 5ea), Face detection mode

F. Video Quality Adjustment

1. H.264 	Compression level, Target bit rate level control

2. MJPEG 	Quality level control

G. Bitrate Control Method

1, H.264	CBR or VBR

2. MJPEG 	VBR

H. Streaming Capability 	Multiple Streaming (Up to 10 Profiles)

I. Audio In	Selectable (Mic in / Line in / Built-in mic),

Supply voltage : 2.5V DC (4mA),

Input impedance : approx. 2K Ohm

J. Audio Out	Line out (3.5mm mono jack), Max output level : 1 Vrms

K.  Audio Compression Format 	G.711 u-law /G.726 Selectable

G.726 (ADPCM) 8KHz, G.711 8KHz

G.726 : 16Kbps, 24Kbps, 32Kbps, 40Kbps

L. Audio Communication 	Bi-directional audio

M. IP 		IPv4, IPv6

N. Protocol 				TCP/IP, UDP/IP, RTP(UDP), RTP(TCP), RTCP, RTSP, 							NTP, HTTP, HTTPS, SSL, DHCP, PPPoE, FTP, SMTP, 							ICMP, IGMP, SNMPv1/v2c/v3(MIB-2), ARP, DNS, 							DDNS, QoS, PIM-SM, UPnP, Bonjour

O. Security 				HTTPS(SSL) Login Authentication

Digest Login Authentication

IP Address Filtering

User access Log

802.1x Authentication

P. Streaming Method 	Unicast, Multicast

Q. Max. User Access 	15 users at Unicast mode

R. Edge Storage				micro SD/SDHC/SDXC

Motion images recorded in the SDXC/SDHC/SD memory 							card can be downloaded

S. Application Programming interface 	ONVIF profile S, SUNAPI (HTTP API) v2.0, SVNP 1.2

T. Webpage Language 			English, French, German, Spanish, Italian, Chinese, 					  		Korean, Russian, Japanese, Swedish, Danish, 								Portuguese, Turkish, Polish, Czech, Rumanian, Serbian, 							Dutch, Croatian, Hungarian, Greek, Norwegian, Finnish

U. Web Viewer

1. Supported OS 	Windows XP / VISTA / 7 / 8, MAC OS X 10.7

2. Supported Browser	Microsoft Internet Explorer (Ver. 7~10),

Mozilla Firefox (Ver. 9~19),

Google Chrome (Ver. 15~25),

Apple Safari (Ver. 6.0.2(Mac OS X 10.8, 10.7 Only), 			5.1.7)

* Mac OS X Only

3. Central Management Software 	SmartViewer

2.07	ELECTRICAL

A. Voltage	AC24V±10%, DC12V±10%,PoE(IEEE802.3af,Class3)

B. Consumption	Max. 13.1W (AC 24V, 50~60Hz)

Max. 11.1W (DC 12V)

Max. 12.6W (PoE, Class3)

2.08	ENVIRONMENTAL SPECIFICATIONS

A. Operating Temperature	-10°C ~ +55°C (14°F ~ 131°F)

B. Operating Humidity	Less than 90% RH

2.09	PHYSCIAL SPECIFICATIONS

A. Dimension	W73.1 x H66.6 x D147.8

B. Weight	430g(0.95lb)

C. Color	FRONT (BLACK) , BODY (IVORY) /

FRONT(Aluminium), BODY(Plastic)

2.10	CERTIFICATIONS

A. CE mark

B. FCC mark

2.11	WARRANTY

A. 3 years, parts and labor.