SNB 8000 5 MEGAPIXEL NETWORK CAMERA

TECHNICAL SPECIFICATIONS	SECURITY SYSTEM

DIVISION – 28 ELECTRONIC SAFETY AND SECURITY

LEVEL 1__28 20 00 ELECTRONIC SURVEILLANCE

LEVEL 2__28 23 00 VIDEO SURVEILLANCE

LEVEL 3__28 23 29 VIDEO SURVEILLANCE REMOTE DEVICES AND SENSORS

PART 2 – PRODUCTS

2.01	GENERAL

A.	All equipment and materials used shall be standard components that are regularly manufactured and used in the manufacturer’s system.

B.	All systems and components shall have been thoroughly tested and proven in actual use.

C.	All systems and components shall be provided with the availability of a toll-free (U.S. and Canada), 24-hour technical assistance program (TAP) from the manufacturer. The TAP shall allow for immediate technical assistance for either the dealer/installer or the end user at no charge for as long as the product is installed.

2.02	SNB 8000 5 MEGAPIXEL VANDAL-RESISTANT NETWORK CAMERA

- The network camera shall offer 5M resolution (2048 x 1536) with 16:9 full HD (1080p) resolution support.

- The camera shall provide video compression dual codec ( H.264 and MJPEG).

- The camera shall provide WDR and Intelligent Video analytics.

2.03	CAMERA

A. Imaging Device	1/1.8” 6M CMOS

B. Total Pixels 	3,096(H) x 2,094(V)

C. Effective Pixels 	2,592(H) x 1,944(V)

D. Scanning System	Progressive

E. Min. Illumination

1. Color				0.2Lux (1/20, F1.2, 50IRE),

0.005Lux (2sec, F1.2, 50IRE)

0.1Lux (1/20, F1.2, 30IRE),

0.0025Lux (2sec, F1.2, 30IRE)

2. B/W 	      0.02Lux (1/20, F1.2, 50IRE),

0.0005Lux (2ssec, F1.2, 50IRE)

0.01Lux (1/20, F1.2, 30IRE),

0.00025Lux (2ssec, F1.2, 30IRE)

F. S / N Ratio	50dB

G. Video Output	CVBS:	1.0Vp-p / 75ohm composite, 720x480(N), 720x576(P), for installation

- DIP connector type

2.04	LENS TYPE

A. Lens Type	DC Auto Iris

B. Mount Type	Board-in type

C. Focus Control			Simple focus (Motorized V/F) / Manual,

Remote control via network (Manual, Simple focus)

2.05	OPERATION

A. Camera Title 	Off, On (Displayed up to 15 characters)

B. Day & Night 	Auto (ICR), Color, B/W, External, Schedule

C. Backlight Compensation		Off, BLC

D. Wide Dynamic Range 	60dB

E. Contrast Enhancement SSDR 	On, Off

F. Digital Noise Reduction SSNRIII 	On, Off

G. Motion Detection 	Off, On (4ea, rectangular zones)

H. Privacy Masking 			Off, On (32ea rectangular zones)

I. Gain Control 	Off, Low, Middle, High

J. White Balance 	ATW, AWC, Manual, Indoor, Outdoor(Include Mercury)

K. Electronic Shutter Speed 	Minimum, Maximum, Anti flicker (2 ~ 1 / 12,000sec)

L. Digital PTZ	16x, Digital PTZ(Preset, Group)

M. Flip / Mirror 	Off, On

N. Intelligent Video Analytics	Audio detection, Tampering

O. Alarm I/O 	Input 1ea / Output 1ea

P. Remote Control Interface	RS-485

Q. RS-485	Samsung-T/E, Pelco-P/D, Sungjin, Panasonic, Honeywell, AD, Vicon, GE, Bosch

R. Alarm Triggers 	Motion detection, Tampering, Audio Detection, Alarm Input, Network Disconnection

S. Alarm Events	File upload via FTP and E-Mail

Notification via E-Mail, TCP and HTTP

local storage(SD/SDHC/SDXC) or NAS recording at Network disconnected & Event (Alarm Triggers)

External output

2.06	NETWORK PROTOCOL

A. Ethernet 	RJ-45 (10/100Base-T)

B. Video Compression Format 	H.264(MPEG-4 part 10/AVC), MJPEG

C. Resolution

1. 5M Mode	 2592x1944 / 1920x1080 /1600x1200/ 1280x1024 /1280x960 / 1280x720 /1024x768/ 800x600 / 720x576 / 720x480/ 640x480 /  320x240

2. 2M Mode	1920x1080 / 1600x1200/ 1280x1024 /1280x960 / 1280x720 /1024x768/ 800x600 / 720x576 / 720x480/ 640x480 /  320x240

D. Max. Framerate

1. 5M Mode	H.264: 20 fps for all resolution

MJPEG: 2592x1944 : 10 fps

1920x1080 / 1600x1200 / 1280x1024 / 1280x960 / 1280x720 / 1024x768 : 15 fps

800x600 / 720x576 / 720x480 / 640x480 / 320x240

: 20 fps

2. 2M Mode	H.264: 30 fps for all resolution

MJPEG: 1920x1080 / 1600x1200 / 1280x1024 / 1280x960 / 1280x720 / 1024x768 : 15 fps

800x600 / 720x576 / 720x480 / 640x480 / 320x240

: 20 fps

E. Video Quality Adjustment

1. H.264 	Compression level, Target bit rate level control

2. MJPEG 	Quality level control

F. Bitrate Control Method

1, H.264	CBR or VBR

2. MJPEG 	VBR

G. Streaming Capability 	Multiple streaming (Up to 6 profiles)

H. Audio In	Selectable (Mic in / Line in) (Built-in mic)

Supply voltage : 2.5V DC(4mA),

Input impedance : approx. 2K Ohm

I. Audio Out	Line out(3.5mm stereo mini jack),

Max output level : 1Vrms

J.  Audio Compression Format 	G.711 u-law /G.726 Selectable

G.726 (ADPCM) 8KHz, G.711 8KHz

G.726 : 16Kbps, 24Kbps, 32Kbps, 40Kbps

K. Audio Communication 	Bi-directional audio

L. IP 		IPv4, IPv6

M. Protocol 	TCP/IP, UDP/IP, RTP(UDP), RTP(TCP), RTCP,RTSP, NTP, HTTP, HTTPS, SSL, DHCP, PPPoE, FTP, SMTP, ICMP, IGMP, SNMPv1/v2c/v3(MIB-2), ARP, DNS, DDNS, QoS, PIM-SM, UPnP, Bonjour

N. Security 	HTTPS(SSL) login authentication, 
Digest login authentication, IP address filtering, 
User access log, 802.1x authentication

O. Streaming Method 	Unicast, Multicast

P. Max. User Access 	10 users at Unicast mode

Q. Edge Storage 	micro SD/SDHC/SDXC(64GB)

- Motion Images recorded in the SDXC/SDHC/SD memory card can be downloaded.

NAS(Network Attached Storage)

R. Application Programming Interface 	ONVIF Profile S

SUNAPI(HTTP API)

SVNP 2.0

Samsung Camera Application Platform

S. Webpage Language 	English, French, German, Spanish, Italian, Chinese, Korean, Russian, Japanese, Swedish, Denish, Portuguese, Turkish, Polish, Czech, Rumanian, Serbian,

Dutch, Croatia, Hungary, Greek, Finnish, Norwegian

T. Web Viewer

1. Supported OS 	Windows XP, Windows Vista, Windows 7, 8

Mac OS X 10.7

2. Supported Browser		Internet Explorer 8 ~11, Firefox 9~19, Chrome 15~25,

Safari (Ver. 6.0.2(Mac OS X 10.8, 10.7 Only), 5.1.7)

Mac OS X Only

U. Central Management Software 	SmartViewer, SSM

2.07	ELECTRICAL

A. Voltage	AC24V±10%, DC12V±10%,PoE(IEEE802.3af,Class3)

B. Consumption	Max. 12.65W (AC 24V, 50~60Hz)

Max. 10.68W (DC 12V)

Max. 12.14W (PoE, Class3)

2.08	ENVIRONMENTAL SPECIFICATIONS

A. Operating Temperature	-10°C ~ +55°C (+14°F ~ +131°F)

B. Operating Humidity	Less than 90% RH

C. Storage Temperature	-30°C ~ +60°C (-22°F ~ +140°F)

D. Storage Humidity	Less than 90% RH

2.09	PHYSICAL SPECIFICATIONS

A. Dimension (WxH)	73.1 x 66.6 x 147.0mm(2.88” x 2.62” x 5.79”)

B. Weight	566g(1.25lb)

C. Color	Black, Ivory

D. Material	Aluminum