Hanwha Vision is a global leading supplier of solutions for IP and analog video surveillance. Building on the company's history of innovation, Hanwha Vision is dedicated to providing systems solutions with the highest levels of performance, reliability and cost-effectiveness. Hanwha Vision is committed to the continued development of innovative systems products for professional security applications.

For additional information, https://www.hanwhavision.com/en/, https://hanwhavisionamerica.com

- PRODUCTS

  - EQUIPMENT

    - Manufacturer: Hanwha Vision (https://www.hanwhavision.com/en/, https://hanwhavisionamerica.com)

    - Model: SND-5084R

    - Alternates: None

  - GENERAL DESCRIPTION

    - All equipment and materials used shall be standard components that are regularly manufactured and used in the manufacturer’s system.

    - B.: All systems and components shall have been thoroughly tested and proven in actual use.

    - C.: All systems and components shall be provided with the availability of a toll-free (U.S. and Canada), 24-hour technical assistance program (TAP) from the manufacturer. The TAP shall allow for immediate technical assistance for either the dealer/installer or the end user at no charge for as long as the product is installed.

    - The camera shall be of a dome type suitable for internal installation. The camera shall be ivory in appearance.

    - The network camera shall feature up to 1.3 Mega Pixel resolution in a 4:3 format. 16:9 format HD 720p shall also be available.

    - The camera should be capable of capturing and transmitting an image size of 1280 x 1024 at 60 images per second.

  - DETAILED SPECIFICATIONS

    - Camera

      - Imaging Device: 1/ 3” PS Exmor 1.37 CMOS(IMX238)

      - Total Pixels: 1,312(H) x 1,069(V)

      - Effective Pixels: 1,305(H) x 1,049(V)

      - Scanning System: Progressive

      - Min. Illumination

        - Color: 0.05 Lux (1/30sec F1.2, 50IRE), 0.005Lux (1/30sec, F1.2, 30IRE)

        - B/W: 0Lux(IR LED on)

      - S / N Ratio: 50dB

      - Video Output: CVBS 1.0 Vp-p / 75Ω composite, 704x480(N) / 704x576(P) for installation *DIP connector type

    - LENS TYPE

      - Lens Type: DC Auto Iris, P-Iris

      - Mount Type: Board-in type

      - Focal Length(Zoom Ratio): 3~ 8.5mm (2.8X) Motorized Varifocal

      - Max. Aperture Ratio: F1.2

      - Angular Field of View

        - H: 93.4˚(Wide) ~ 33.1˚(Tele)

        - V: 73.8˚(Wide) ~ 26.5˚(Tele)

      - Min. Object Distance: 0.5M(1.64ft)

      - Focus Control: Simple Focus (Motorized V/F) / Manual *Remote control via network

    - Pan / Tilt / Rotate

      - Pan Range: '0 ° ~ +354 °

      - Tilt Range: '0 ° ~ +67 °

      - Rotate Range: '0 ° ~ +355 °

    - OPERATION

      - IR LED / Viewable Length: 12ea / 30m(98.43ft)

      - Camera Title: Off / On (Displayed up to 40 characters)

      - Day & Night: Auto (ICR) / Color / B/W / External / Schedule

      - Backlight Compensation: Off, BLC, WDR

      - Wide Dynamic Range: 130dB

      - Contrast Enhancement SSDR: On, Off

      - Digital Noise Reduction SSNRIII: On, Off

      - Digital Image Stabilization: On, Off

      - Defog: Off / Auto / Manual

      - Motion Detection: Off / On (4 zones with 4-sided polygon)

      - Privacy Masking: Off / On (32 zones with 4-sided polygon)

      - Gain Control: Off / Low / Middle / High

      - White Balance: ATW / AWC / Manual / Indoor / Outdoor

      - Electronic Shutter Speed: Minimum / Maximum / Anti flicker

      - Flip / Mirror: Off, On

      - Intelligent Video Analytics: Tampering, Virtual Line, Enter/Exit, Appear / Disappear, Audio Detection, Face Detection

      - Alarm I/O: Input 1ea / Output 1ea

      - Alarm Triggers: Motion detection, Tampering, Audio Detection, Face: Detection, Video Analytics, Alarm Input, Network: Disconnection

      - Alarm Events: File upload via FTP and E-Mail Notification via E-Mail, TCP and HTTP local storage(SD/SDHC/SDXC) recording at Network disconnected & Event (Alarm Triggers) External output

    - NETWORK PROTOCOL

      - Ethernet: RJ-45 (10/100Base-T)

      - Video Compression Format: H.264(MPEG-4 part 10/AVC), MJPEG

      - Resolution: 1280x1024 /1280x720 / 1024x768 / 800x600 /  640x480: 320x240

      - Max. Framerate:

        - H264: Max 60fps at all resolutions

        - Motion JPEG: 1280x1024 / 1280x720 / 1024x768 Max. 15 fps, 800x600 / 640x480 / 320x240 Max. 30fps

      - E. Video Quality Adjustment:

        - H.264: Compression level, Target bit rate level control

        - MJPEG: Quality level control

      - F. Bitrate Control Method:

        - H.264: CBR or VBR

        - MJPEG: VBR

      - Streaming Capability: Multiple Streaming (Up to 10 Profiles)

      - Audio In: Selectable (Mic in / Line in / Built in mic), Supply voltage 2.5V DC(4mA), Input impedance approx. 2K Ohm

      - Audio Out: Line out(3.5mm mono jack), Max output level: 1 Vrms

      - Audio Compression Format: G.711 u-law /G.726 Selectable

        - G.726 (ADPCM) 8KHz, G.711 8KHz

        - G.726: 16Kbps, 24Kbps, 32Kbps, 40Kbps

      - Audio Communication: Bi-directional audio

      - IP: IPv4, IPv6

      - Protocol: TCP/IP, UDP/IP, RTP(UDP), RTP(TCP), RTCP, RTSP,: NTP, HTTP, HTTPS, SSL, DHCP, PPPoE, FTP, SMTP,: ICMP, IGMP, SNMPv1/v2c/v3(MIB-2), ARP, DNS,: DDNS, QoS, PIM-SM, UPnP, Bonjour

      - Security: HTTPS(SSL) Login Authentication, Digest Login Authentication, IP Address Filtering, User access Log, 802.1x Authentication

      - Streaming Method: Unicast, Multicast

      - Max. User Access: 15 users at Unicast mode

      - Edge Storage: SD/SDHC/SDXC *motion Images recorded in the SDX/SDHC/SD memory: card can be downloaded, NAS(Network Attached Storage)

      - Application Programming Interface: Onvif Profile S, SUNAPI(HTTP API), SVNP 1.2

      - Webpage Language: English, French, German, Spanish, Italian, Chinese,: Korean, Russian, Japanese, Swedish, Denish, Portuguese, Turkish, Polish, Czech, Rumanian, Serbian,: Dutch, Croatia, Hungary, Greek, Norwegian

      - Web Viewer

        - Supported OS: Windows XP / VISTA / 7 / 8, MAC OS X 10.7

        - Supported Browser: Microsoft Internet Explorer (Ver. 8~10), Mozilla Firefox (Ver. 9~19), Google Chrome (Ver. 15~25), Apple Safari (Ver. 6.0.2(Mac OS X 10.8, 10.7 Only),: 5.1.7) * Mac OS X Only.

        - Central Management Software: SmartViewer 4.0, SSM(Samsung Security Manager)

    - 2.08: ELECTRICAL

      - Voltage: DC12V, PoE(IEEE802.3af)

      - Consumption: Max. 10.5W

    - 2.09: ENVIRONMENTAL SPECIFICATIONS

      - Operating Temperature: -10°C ~ +55°C (14°F ~ 131°F)

      - Operating Humidity: Less than 90% RH

      - Storage Temperature: -30°C ~ +60°C (-22°F ~ 140°F)

      - Storage Humidity: Less than 90% RH

    - PHYSCIAL SPECIFICATIONS

      - A. Dimension: D 132.1, H 107.6

      - B. Weight: 585g(1.29lb)

      - C. Color: IVORY(Aluminum)

    - CERTIFICATIONS:

      - A. CE mark

      - B. FCC mark

      - C. ULL

END OF SECTION

10