SNF-7010VM 3MEGAPIXEL VANDAL-RESISTANT NETWORK 360° FISHEYE CAMERA

TECHNICAL SPECIFICATIONS	SECURITY SYSTEM

DIVISION – 28 ELECTRONIC SAFETY AND SECURITY

LEVEL 1__28 20 00 ELECTRONIC SURVEILLANCE

LEVEL 2__28 23 00 VIDEO SURVEILLANCE

LEVEL 3__28 23 29 VIDEO SURVEILLANCE REMOTE DEVICES AND SENSORS

PART 2 – PRODUCTS

2.01	GENERAL

A.	All equipment and materials used shall be standard components that are regularly manufactured and used in the manufacturer’s system.

B.	All systems and components shall have been thoroughly tested and proven in actual use.

C.	All systems and components shall be provided with the availability of a toll-free (U.S. and Canada), 24-hour technical assistance program (TAP) from the manufacturer.  The TAP shall allow for immediate technical assistance for either the dealer/installer or the end user at no charge for as long as the product is installed.

2.02	SNF-7010VM 3MEGAPIXEL VANDAL-RESISTANT NETWORK 360° FISHEYE CAMERA

- A The camera shall be of a vandal dome type suitable for internal or external installation with IP66 ingress protection.

- The camera shall be ivory in appearance and be tested to IK10 impact rating with an Aluminium body.

- The cameras shall feature a 1.05mm lens, providing a 180 degree horizontal and 170 degree vertical field of view.

- The network camera shall feature up to 3 Mega Pixel resolution in a 4:3 format at 20fps.

- The camera shall feature Wide Dynamic Range with a gain of 120dB. The WDR function shall feature an adaptive motion system to eliminate motion blur.

- The camera shall feature a high performance 2D & 3D noise reduction that automatically adapts the type of technology used according to movement in the field of view. 2D noise reduction compares adjacent pixels while 3D technology compares the same pixel in the previous and subsequent images, giving a higher level of detail. When the camera detects movement in a region of the image it will apply 2D noise reduction to that area and 3D noise reduction to the remainder of the image.

- The camera shall feature an automatic back light compensation technology that detects and enhances dark areas in the field of view and increases the gain in those areas.

- The camera shall feature built in license free video analytics functions including audio detection and camera tamper (scene change).

- The camera shall feature advanced motion detection with definable detection areas and minimum / maximum object size definition.

- The camera shall feature 32 privacy zone mask areas.

- The camera shall feature a backlight compensation technology that can be used to manually select an area of high brightness in the field of view and adjust the gain in that area.

- The network camera shall provide video transmission in an open format with H.264 or MJPEG compression.

- The camera shall support ONVIF profile S for operation with 3rd party systems.

- The camera shall be capable of simultaneously transmitting multiple video streams of different resolution, compression, frame-rate and compression settings.

- The network camera should be configurable through a built in web server that can be accessed via standard browsers including Internet Explorer, Firefox, Chrome & Safari.

- The camera shall feature a line level audio input with an alarm function.

- The camera shall feature a line level audio input and output capable of duplex operation.

- The cameras shall support micro SD, SDHC & SDXC flash memory card for recording video footage on event, network loss or continuously.

- The camera shall provide a customizable on-screen display (OSD) which shall be available in English, French, German, Spanish, Italian, Chinese, Korean, Russian, Japanese, Swedish, Danish, Portuguese, Turkish, Polish, Czech, Romanian, Serbian, Dutch, Croatian, Hungarian, Greek, Finnish, Norwegian.

  - ELECTRICAL SPECIFICATIONS

- Input Voltage	PoE (IEEE802.3af)

- Power Consumption, max.	Max 6.5W

2.04	CAMERA

A. Imaging Device	1/2.8” 3M PS CMOS

B. Total Pixels (horizontal x vertical)	3megapixel

C. Scanning System	Progressive

D. Min. Illumination	1.3Lux

2.05	LENS

A. Focus control	Fixed iris

B. Lens		3mm Fixed

C. Mount Type	Board In

D. Focal length	1.05mm

E. Max. Aperture ratio	F2.8

F. Angular Field of View	H:180° / V : 170° / D : 180°

G. Min Object Distance	0.3m

H. Lens Type	Fixed focal

I. Mount Type	Board-in type

J. Lens Angle Adjustment	Rotation : 0° ~ 355°

2.06	OPERATIONAL SPECIFICATION

A. Camera Title	On, Off (displays up to 45 characters)

B. Day and Night	Auto (Electrical), Color, B/W

C. Backlight Compensation	BLC,Off\

D. Wide Dynamic Range	120dB

E. Contrast Enhancement	SSDR Off, On

F. Digital Noise Reduction, 	SSNRIII(2D+3D noise filter) Off, On

G. Motion Detection	On, Off (4ea 4points polygonal zones)

H. Privacy Masking	On, Off (32 zones with 4 points of polygonal)

I. Gain Control	Off, Low, Medium, High,

J. White Balance	ATW AWC, Manual, Indoor, Outdoor

K. Electronic Shutter Speed	Min, Max, Flicker off, 50Hz, 60Hz, (1s~1/12,000s)

L. Intelligent Video Analytics	Scene change, 20 FPS

M. Alarm I/O	input 1ea / Output 1ea

N. Alarm Triggers	Motion detection, Network disconnection

2.07	NETWORK

A. Ethernet	M12 (10/100Base-T)

B. Video Compression	H.264,MJPEG

C. Max Frame rate	3M 20fps

D. Dewarping Client	Smart Viewer

E. Viewing Composition	Camera : 360° fisheye / Client : single panorama, 			Double panorama, Quad, User selectable region,

Single rectangle, 1 original, 3 rectangle,

1 panorama + 2 rectangle

F. Digital PTZ	Digital PTZ

G. Video Quality Adjustment

1. H.264	Compression level, Target bitrate level control

2. MJPEG	Quality level control

H. Bitrate Control Method

1. H.264, MPEG-4	VBR or CBR

2. MJPEG	VBR

I. Streaming Capability	Multiple, up to 6 profiles

J. IP		IPv4, IPv6

K. Network Protocol	TCP/IP, UDP/IP, RTP (UDP), RTP (TCP), RTSP, NTP,

HTTP, HTTPS, SSL, DHCP, PPPoE, FTP, SMTP, ICMP,

IGMP,  SNMPv1, v2c, v3 (MIB-2), ARP, DNS, DDNS,

ONVIF, QoS, UPnP, Bonjour

L. Security	HTTPS (SSL) login authentication, Digest login 
		authentication, IP Address filtering, User access log,

802.1x authentication

M. Streaming Method	Unicast, Multicast

N. User Access 	15 users at Unicast

O. Memory Slot	SD/SDHC/SDZC memory slot

P. ONVIF Conformance	Yes

Q. Webpage Language	English, French, German, Spanish, Italian, Chinese, 
		Korean, Russian, Japanese, Swedish, Danish, 
		Portuguese, Turkish, Polish, Czech, Rumanian, Serbian, 
		Dutch, Croatian, Hungarian, Greek, Norwegian, Finnish

Norwegian

R. Web Viewer

1. Supported OS	Windows XP, Windows Vista, Windows 7, MAC OS

2. Supported Browser	Internet Explorer 7.0 or higher, Firefox, Chrome, Safari

S. Central Management Software	Smart Viewer

2.08	ENVIRONMENTAL SPECIFICATIONS

A. Operating Temperature	-10°C ~ +55°C (-34°F ~ +140°F)

B. Operating Humidity		~ 90% RH

C. Ingress Protection	IP66 Grade

D. Vandal Resistance	IK10

E. Railway Certificate	EN50155

2.09	PHYSICAL SPECIFICATIONS

A. Dimension	Ø 128.8  x 55.7mm(Ø5.07” x2.19”)

B. Weight	610g(1.34 lb)

C. Color	Ivory

D. Material	Aluminum

2.10	CERTIFICATIONS

A. CE mark

B. FCC mark

C. UL listed

2.11	WARRANTY

A. 3 years