SNO-7082R 3 MEGAPIXEL FULL HD WEATHERPROOF IR NETWORK BULLET CAMERA

TECHNICAL SPECIFICATIONS	SECURITY SYSTEM

DIVISION – 28 ELECTRONIC SAFETY AND SECURITY

LEVEL 1__28 20 00 ELECTRONIC SURVEILLANCE

LEVEL 2__28 23 00 VIDEO SURVEILLANCE

LEVEL 3__28 23 29 VIDEO SURVEILLANCE REMOTE DEVICES AND SENSORS

PART 2 – PRODUCTS

2.01	GENERAL

A.	All equipment and materials used shall be standard components that are regularly manufactured and used in the manufacturer’s system.

B.	All systems and components shall have been thoroughly tested and proven in actual use.

C.	All systems and components shall be provided with the availability of a toll-free (U.S. and Canada), 24-hour technical assistance program (TAP) from the manufacturer.  The TAP shall allow for immediate technical assistance for either the dealer/installer or the end user at no charge for as long as the product is installed.

2.02	SNO-7082R 3 MEGAPIXEL FULL HD WEATHERPROOF IR NETWORK BULLET CAMERA

A.  This network dome camera shall provide resolution support of at least 3M (2048x1536) with 16:9 full HD (1080p) resolution.

B.   Built-in IR LED (32ea), viewable length of 30m.

C.  The camera shall have 3 ~ 8.5mm motorized varifocal (2.8x) lens.

D.  The camera shall support simultaneous transmission of dual codec (H.264 and MJPEG), with smart codec (ROI encoding).

E. 	The camera shall support WDR.

- This camera shall have an IP66 vandal-resistant, waterproof body.

G.	The camera shall provide a customizable on-screen display (OSD) which shall be available in English, French, German, Spanish, Italian, Chinese, Korean, Russian, Japanese, Swedish, Danish, Portuguese, Turkish, Polish, Czech, Rumanian, Serbian, Dutch, Croatian, Hungarian, and Greek.

  - ELECTRICAL SPECIFICATIONS

- Input Voltage	24V AC, 12V DC, PoE (IEEE802.3af)

- Power Consumption, max.	12.95W with Heater off

18.5W with Heater on(Heater works at AC input only)

2.04	CAMERA

A. Imaging Device	1/3” 3M PS CMOS

B. Total Pixels (horizontal x vertical)	2,064 x 1,578

C. Effective Pixels (horizontal x vertical)	2,052 x 1,536

D. Scanning System	Progressive

E. Min. Illumination

1. Color	1Lux (F1.2, 50IRE), 0.011 Lux (Sens-up, 60x)

2. Black/White	0Lux (F1.2, 50IRE, IR LED on)

F. SN Ratio	50dB

G. Video Output	CVBS: 1.0 Vp-p, 75 ohms composite

1. NTSC	704x480, for installation

2. PAL	704x576, for installation

2.05	LENS

A. Focal Length (Zoom Ratio)	3~ 8.5mm (2.8x) motorized varifocal

B. Aperture ratio, max.	F1.2

C. Angular Field of View	H: 87.3°(Wide) ~ 31.2°(Tele)

V: 64.5°(Wide) ~ 23.4°(Tele)

D. Focus control	Manual / Simple focus / Day & Night

E. Drive Type	DC auto iris

F. Mount Type	Board-in Type

2.06	OPERATIONAL SPECIFICATIONS

A. Camera Title	On, Off (displays 15 characters)

B. Day and Night	Auto (ICR), Color, B/W, External B/W

C. Backlight Compensation	BLC, HLC, WDR, Off

D. Wide Dynamic Range	Off, On (96dB) 3M mode : 20fps, 2M mode : 30fps

E. Contract Enhancement, SSDR	Off, On

F. Digital Noise Reduction,

SSNRIII 2D+3D noise filter 	Off, On

G. Motion Detection	On, Off (4 rectangular zones)

H. Privacy Masking	On, Off (1 each, 4 point polygonal + 16 each rectangular zones)

I. Sens-up (Frame Integration)	Off, Auto (2x ~ 60x)

J. Gain Control	Off, Low, Medium, High

K. White Balance	ATW AWC, Manual, Indoor, Outdoor

L. Electronic Shutter Speed	Auto, A.FLK, Manual (1/30~12,000sec)

M. Flip/Mirror	Off, On

N. Alarm I/O	Digital 1 / 1 (Relay)

2.07	NETWORK

A. Ethernet	RJ-45 (10/100Base-T)

B. Video Compression	H.264 ( MPEG-4part 10/AVC), MJPEG

C. Resolution 3M

1. H.264	20fps max, all resolutions

2. MJPEG	800 x 600 ~ 320 x 180, 20fps

1280 x 1024 ~1920 x 1080, 15fps

2048 x 1536, 10fps

D. Resolution 2M

1. H.264	30fps max, all resolutions

2. MJPEG	800 x 600 ~ 320 x 180, 30fps

1280 x 1024 ~1920 x 1080, 15fps

E. Max Framerate

1. 3M Mode	20fps

2. 3M Mode	30fps

F. Smart Codec	Area based method

G. Video Quality Adjustment

1. H.264	Compression level, Target bitrate level control

2. MJPEG	Quality level control

H. Bitrate Control

1. H.264, MPEG-4	VBR or CBR

2. MJPEG	VBR

I. Streaming	Multiple, up to 6 profiles

J. Audio I/O	Mic/ Line in, Line Out

K. Audio Compression Format	G.711 u-law

L. Audio Communication	Bi-directional audio

M. IP		IPv4, IPv6

N. Network Protocol	TCP/IP, UDP/IP, RTP (UDP), RTP (TCP), RTSP, NTP,

HTTP, HTTPS, SSL, DHCP, PPPoE, FTP, SMTP, ICMP,

IGMP,  SNMPv1, v2c, v3 (MIB-2), ARP, DNS, DDNS,

Qos, Onvif, UPnP

O. Security	HTTPS (SSL) login authentication, Digest login 
		authentication, IP Address filtering, User access log, 
		802.1x authentication

P. Streaming Method	Unicast, Multicast

Q. User Access 	10 users at Unicast level

R. Memory Slot	SD/SDHC memory slot (4GB Included)

S. ONVIF Conformance	Yes

T. Webpage Language	English, French, German, Spanish, Italian, Chinese, 
		Korean, Russian, Japanese, Swedish, Danish, 
		Portuguese, Turkish, Polish, Czech, Rumanian, Serbian, 
		Dutch, Croatian, Hungarian, and Greek

U. Web Viewer

1. Supported OS	Windows XP, Windows Vista, Windows 7, MAC OS

2. Supported Browser	Internet Explorer 6.0 or higher, Firefox, Chrome, Safari

V. Central Management Software	NET-i Viewer

2.08	ENVIRONMENTAL SPECIFICATIONS

A. Operating Temperature	-50°C ~ +50°C (-58°F ~ +131°F) / Less than 90% RH

B. Operating Humidity	<90% RH

C. Ingress Protection	IP66 (Waterproof)

2.09	PHYSCIAL SPECIFICATIONS

A. Dimension	Ø114.0 x 388.0mm (Ø4.49" x 15.28")

B. Weight	1.75kg (3.86 lb)

C. Color	Dark Gray

D. Materials	Metal

2.10	CERTIFICATIONS

A. UL Listed

B. UL Listed to Canadian safety standards

C. CE mark

D. FCC mark

2.11	WARRANTY

A. 3 years, parts and labor.