SNP-3120 H.264 NETWORK PTZ DOME CAMERA

TECHNICAL SPECIFICATIONS	SECURITY SYSTEM

DIVISION – 28 ELECTRONIC SAFETY AND SECURITY

LEVEL 1__28 20 00 ELECTRONIC SURVEILLANCE

LEVEL 2__28 23 00 VIDEO SURVEILLANCE

LEVEL 3__28 23 29 VIDEO SURVEILLANCE REMOTE DEVICES AND SENSORS

PART 2 – PRODUCTS

2.01	GENERAL

A.	All equipment and materials used shall be standard components that are regularly manufactured and used in the manufacturer’s system.

B.	All systems and components shall have been thoroughly tested and proven in actual use.

C.	All systems and components shall be provided with the availability of a toll-free (U.S. and Canada), 24-hour technical assistance program (TAP) from the manufacturer.  The TAP shall allow for immediate technical assistance for either the dealer/installer or the end user at no charge for as long as the product is installed.

D.	All systems and components shall be provided with a one-day turnaround repair express and 24-hour parts replacement. The repair and parts express shall be guaranteed by the manufacturer on warranty and nonwarranty items.

2.02	SNP-3120 H.264 NETWORK PTZ DOME CAMERA

A. 	These cameras shall support multi-streaming technologies, transferring real-time high-resolution images at 30(25) fps and video compression in H.264, MPEG-4 and MJPEG triple codec.

B.	The camera shall provide 12x optical zoom with 16x digital zoom. It shall support hPoE, SD memory, bi-directional audio and intelligent video analytics.

C.  Models of this camera shall be available in a vandal-resistant body and with built-in heater and sun shield.

2.04 	VIDEO SPECIFICATIONS

A. Imaging Device		1/4” Ex-view HAD PS CCD

B. Total Pixels (horizontal x vertical)

1. N/VN/VHN models		811 x 508

2. P/VP/VHP models		795 x 596

C. Effective Pixels (horizontal x vertical)

1. N/VN/VHN models		768 x 494

2. P/VP/VHP models		752 x 582

D. Scanning System		Progressive (VPS ON) (If WDR on, Interlaced Scan)

E. Synchronization		Internal, Line lock

F. Frequency (horizontal, vertical)

1. N/VN/VHN models		15.734 KHz, 59.94 Hz

2. P/VP/VHP models		15.625 KHz, 50 Hz

G. Horizontal Resolution

1. Color		600 TV Lines

2. B/W		700 TV lines

H. Min. Illumination

1. Color 		0.7Lux (50 IRE@F1.65), 
0.001 Lux (Sens-up, 512X),

2. B/W		0.007Lux (50 IRE@F1.65), 0.0001 Lux (Sens up 512x)

I. S / N (Y signal) 		50dB

J. Video Output		CVBS: 1.0 Vp-p, 75Ω composite

2.05	LENS

A. Focal Length		3.6 ~ 44.32mm

B. Zoom Ratio		12x

C. Max. Aperture Ratio		F1.65 (Wide), F2.01 (Tele)

D. Min. Object Distance		0.2m (Wide), 0.8M (Tele)

E. Angular Field of View		54.44°(Wide) ~ 4.62°(Tele) (H)
42.32°(Wide) ~ 3.58°(Tele) (V)

F. Focus		AF, One-shot AF, Manual

G. Lens Type		DC Auto Iris

2.06 	PAN/TILT

A. Pan Range		360° endless

B. Pan Speed		Preset: 650°/sec

Manual: 0.05°/sec ~ 120°/sec

Turbo 200° second

C. Tilt Range		-5° ~ 185°

D. Tilt Speed		Preset: 650°/sec  
Manual: 0.05°/sec ~ 120°/sec

E. Preset Positions		255

F. Preset Accuracy		 0.1

2.07 	OPERATIONAL SPECIFICATIONS

A. On-Screen Display

1. N/VN/VHN models		English, French, German, Spanish, Italian, Korean,

And Portuguese

2. P/VP/VHP models		English, French, German, Spanish, Italian, Chinese,

and Portuguese

B. Camera Title		On, Off (Displayed 12 characters)

C. Day & Night		Auto (IRC), Color, B/W

D. Backlight Compensation		BLC, WDR, Off

E. Wide Dynamic Range

1. N/VN/VHN models		128x

2. P/VP/VHP models		160x

F. XDR (eXtended Dynamic Range)	Off, Low, Medium, High

G. Digital Noise Reduction		Motion Adaptive 2D+3D Noise Filter

(Off, Low, Medium, High)

H. Digital Image Stabilization		On, Off

I. Motion Detection		Yes

J. Privacy Masking		On, Off (12 polygonal programmable zones)

K. Sens-up (Frame Integration)		Off, Auto (2x ~ 512x)

L. Gain Control		Off, Low, Medium, High, Manual

L. White Balance		AWT (in), ATW (out), Manual, AWC

M. Electronic Shutter Speed

1. N/VN/VHN models		Off, A.FLK, Manual (1/120 ~ 1/10Ksec)

2. P/VP/VHP models		1/50 ~ 1/10,000sec

N. Digital Zoom		16x

O. Flip/Mirror		Digital Flip

P. VPS		Off, On

Q. Intelligent Video Analytics		Moved, Fixed

R. Alarm		2 In, 2 Out (Relay)

S. Remote Control Interface		RS-485

T. RS-485 Protocol		Samsung T/E, Pelco-P/D, Panasonic, Honeywell, AD,

Vicon, GE, Bosch

2.08	NETWORK

A. Ethernet 		RJ-45 (10/100 BASE-T)

B. Video Compression Format		H.264, MPEG4, MJPEG

C. Resolution

1. NTSC		704 x 480, 640x480, 352x240, 320x240

2. PAL		704 x 576, 640x480, 352x288, 320x240

D. Frame Rate

1. NTSC		30 fps

2. PAL		25 fps

E. Video Quality Adjustment		H.264/MPEG4: Compression Level, Target Bitrate Level
MJPEG: Quality Level Control

F. Bitrate Control Method		H.264/MPEG4: CBR or VBR

MJPEG: VBR

G. Streaming Capability 		Multiple Streaming (Up to 10 Profiles)

H. Audio I/O		Line in / Line out

I. Audio Compression Format 		G.711

J. Audio Communication		2-Way

K. IP 		IPv4, IPv6

L. Protocol 		TCP/IP, UDP/IP, RTP(UDP), RTP(TCP), RTSP, NTP,
HTTP, HTTPS, SSL, DHCP, PPPoE, FTP, SMTP, ICMP, IGMP, SNMPv1/v2c/v3(MIB-2), ARP,DNS, DDNS

M. Security		HTTPS (SSL) Login Authentication, 
Digest Login Authentication, IP Address Filtering, 
User access Log

N. Streaming Method 		Unicast / Multicast

O. Max. User Access 		10 users at Unicast Mode

P. Memory Slot 		SD/SDHC Memory Slot

Q. ONVIF Conformance 		Yes

R. Web Viewer Supported OS		Windows XP, Windows Vista, Windows 7, MAC OS

S. Supported Browser		Internet Explorer 6.0 or Higher, Firefox, Chrome, Safari

T. Central Management		NET-I Viewer

2.09	ELECTRICAL SPECIFICATIONS

A. Input Voltage		24V AC, hPoE (IEEE802.3at)

B. Power Consumption		Max. 45W

1. SNP-3120N		Max. 15W

2. SNP-3120NV, SNP-3120NVH	Max. 15W (Heater Off), Max. 45W (Heater On)

2.10.	ENVIRONMENTAL SPECIFICATIONS

A. Operating Temperature

1. SNP-3120N		-10°C ~ +50°C (+14°F ~ +122°F)

2. SNP-3120VN or VP		-50°C ~ +50°C (-58°F ~ +122°F)

3. SNP-3120VHN or VHP		-50°C ~ +50°C (-58°F ~ +122°F)

B. Operating Humidity

1. SNP-3120N		Up to 90% RH

2. SNP-3120VN or VP		Up to 100% RH

3. SNP-3120VHN or VHP		Up to 100% RH

2.11 	MECHANICAL SPECIFICATIONS

A. Dimension

1. SNP-3120N or P		Ø174 x 168mm (Ø6.85" x 6.61"),

2. SNP-3120VN or VP		Ø165 x 165mm (Ø6.5" x 6.5"),

3. SNP-3120VHN or VHP		Ø200 x 203mm (Ø7.87" x 7.99")

B. Weight

1. SNP-3120N or P		1.2Kg (2.65 Ib)

2. SNP-3120 VN or VP		1.9Kg (4.19 Ib)

3. SNP-3120VHN or VHP		2.4Kg (5.29 Ib)

C. Color/ Material

1. SNP-3120N or P		Ivory / Plastic

2. SNP-3120 VN or VP		Ivory / Aluminum (Vandal-Resistant type)

3. SNP-3120VHN or VHP		Ivory / Aluminum (Vandal-Resistant type),

Sun-Shield Built-in

2. 12	MODELS

A. NTSC

1. SNP-3120N		basic version

2. SNP-3120VN		basic with vandal-resistant body, heater

3. SNP-3120VHN		basic with vandal-resistant body, heater and sun shield

B. PAL

1. SNP-3120P		basic version

2. SNP-3120VP		basic with vandal-resistant body, heater

3. SNP-3120VHP		basic with vandal-resistant body, heater and sun shield

2.13	CERTIFICATIONS

A. FCC (Class A), UL/cUL Listed	SNP-3120N, SNP-3120VN, SNP-3120VHN,

B. CE, UL/cUL Listed		SNP-3120P, SNP-3120VP, SNP-3120VHP

2.14	WARRANTY

A. 3 years parts and service