SNP-3302 4CIF NETWORK PTZ DOME CAMERA

TECHNICAL SPECIFICATIONS	SECURITY SYSTEM

DIVISION – 28 ELECTRONIC SAFETY AND SECURITY

LEVEL 1__28 20 00 ELECTRONIC SURVEILLANCE

LEVEL 2__28 23 00 VIDEO SURVEILLANCE

LEVEL 3__28 23 29 VIDEO SURVEILLANCE REMOTE DEVICES AND SENSORS

PART 2 – PRODUCTS

2.01	GENERAL

- All equipment and materials used shall be standard components that are regularly manufactured and used in the manufacturer’s system.

- All systems and components shall have been thoroughly tested and proven in actual use.

- All systems and components shall be provided with the availability of a toll-free (U.S. and Canada), 24-hour technical assistance program (TAP) from the manufacturer.  The TAP shall allow for immediate technical assistance for either the dealer/installer or the end user at no charge for as long as the product is installed.

2.02	SNP-3302 4CIF NETWORK PTZ DOME CAMERA

- These cameras shall support multi-streaming technologies, transferring real-time high resolution images at 30 fps with video compression in H.264, MJPEG and MPEG-4 codec.

- The camera shall provide 3.5~105.3mm (30x) optical zoom with 16x digital zoom. It shall support PoE plus, SD memory, and bi-directional audio.

- All operation and configuration menus shall be provided in English, Korean, Japanese, Chinese, French, German, Spanish, Italian, Russian, Polish, Czech, Turkish, Dutch, Portuguese, Swedish, Danish, Thai, Romanian, Serbian, Croatian, Hungarian, and Greek.

- The camera shall be of a dome type suitable for internal installation. The camera shall be ivory in appearance.

- The camera shall feature a motorized pan and tilt mechanism capable of panning at 500°/s and tilt movement at 500°/s.

- The camera should be capable of capturing an image size of 1280x1024 at 30 images per second

- The camera shall feature a day / night mode that incorporates an infrared cut filter removal mechanism for true color reproduction and the best possible low light performance

- The camera shall feature a 30x zoom lens with continuous and one shot autofocus functions.

- The camera shall feature Wide Dynamic Range with a gain of 96db. This feature will work at 30 images per second in 2 mega pixel mode, or 20 images per second in 3 megapixel mode.

- The camera shall feature a high performance 2D & 3D noise reduction that automatically adapts the type of technology used according to movement in the field of view. 2D noise reduction compares adjacent pixels while 3D technology compares the same pixel in the previous and subsequent images, giving a higher level of detail. When the camera detects movement in region of the image it will apply 2D noise reduction to that area and 3D noise reduction to the remainder of the image.

- The camera shall feature a backlight compensation technology that can be used to manually select an area of high brightness in the field of view and adjust the gain in that area.

- The camera shall feature a highlight compensation function that automatically detects very bright areas of the image and changes them to a previously configured greyscale. This technology helps to reduce the flaring effect of bright lights such as a torch or car headlights.

- The network camera shall provide video transmission in an open format with H.264 or MJPEG compression.

- The camera shall feature a line level audio input and output capable of duplex operation.

- The cameras shall support a SDHC flash memory card for recording video footage on event, network loss or on a one second interval.

  - ELECTRICAL SPECIFICATIONS

- Input Voltage	24V AC, PoE+ (IEEE802.3af)

- Power Consumption, max.	Max. 21W

2.04	CAMERA

A. Imaging Device	1/4” Vertical double density interline transfer CCD

B. Total Pixels (horizontal x vertical)	811(H) x 508(V)

C. Effective Pixels (horizontal x vertical)	768(H) x 494(V)

D. Scanning System	Progressive(VPS on)(If WDR on, interlaced scan)

E. Min. Illumination

1. Color	0.7Lux (F1.6, 50IRE), 0.001Lux(Sens-up, 512x)

2. B/W	0.07Lux(F1.6, 50IRE), 0.0001Lux(Sens-up, 512x)

F. S / N ratio	52dB

G. Video Output	CVBS:1.0 Vp-p

1. NTSC	704x480, for installation

2. PAL	704x576, for installation

  - LENS

A. Focus control	AF / One-shot AF / Manual

B. Drive Type	DC auto iris

C. Mount Type	Board-in type

2.06	OPERATIONAL SPECIFICATION

A. Camera Title	On, Off (displays up to 15 characters)

B. Day and Night	Auto (ICR), Color, B/W

C. Backlight Compensation	WDR, BLC, HLC, Off

D. Contrast Enhancement	SSDR off, on

E.  Digital Noise Reduction 	SSNR   Off, On

F.  Wide Dynamic Range	52dB

G. Motion Detection	Yes

H. Privacy Masking	On, Off (8 programmable zones)

I. Sens-up (Frame Integration)	Off, Auto (2x ~ 512x)

J. Gain Control	Off, Low, Medium, High, Manual

K. White Balance	ATW AWC, Manual, Indoor, Outdoor

L. Electronic Shutter Speed	ESC, A.FLK, Manual (1/60~1/120,000)

M. Flip/Mirror	Off, On

N. Digital Zoom	16x

O. Intelligent Video Analytics	Virtual line, Enter / Exit, Appear / Disappear

P. Alarm I/O	Input 4ea / Output 2ea(relay).

2.08	NETWORK

A. Ethernet	RJ-45 (10/100Base-T)

B. Video Compression	H.264,MJPEG, MJPEG

C. Resolution 	704 x 480, 640 x 480, 352 x 240, 320 x 240

D. Max Frame rate	30fps at all resolutions.

E. Video Quality

1. H.264, MPEG-4	Compression level, Target bit rate level control

2. MJPEG	Quality level control

F. Bitrate Control

1. H.264, MPEG-4	VBR or CBR

2. MJPEG	VBR

G. Streaming	Multiple, up to 10 profiles

H. IP		IPv4, IPv6

I. Network Protocol	TCP/IP, UDP/IP, RTP (UDP), RTP (TCP), RTSP, NTP,

HTTP, HTTPS, SSL, DHCP, PPPoE, FTP, SMTP, ICMP,

IGMP,  SNMPv1, v2c, v3 (MIB-2), ARP, DNS, DDNS

J. Security	HTTPS (SSL) login authentication, Digest login 
		authentication, IP Address filtering, User access log,

802.1x authentication.

K. Streaming Method	Unicast, Multicast

L. User Access 	10 users at Unicast

M. Memory Slot	SD/SDHC memory slot

N. ONVIF Conformance	Yes

O. Webpage Language	English, French, German, Spanish, Italian, Chinese, 
		Korean, Russian, Japanese, Swedish, Danish, 
		Portuguese, Turkish, Polish, Czech, Rumanian, Serbian, 
		Dutch, Croatian, Hungarian, and Greek

P. Web Viewer

1. Supported OS	Windows XP, Windows Vista, Windows 7, MAC OS

2. Supported Browser	Internet Explorer 6.0 or higher, Firefox, Chrome, Safari

Q. Central Management Software	NET-i Viewer

2.09	ENVIRONMENTAL SPECIFICATIONS

A. Operating Temperature	-10°C ~ +55°C (+14°F ~ +131°F)

B. Operating Humidity		20% ~ 80% RH

2.10	PHYSCIAL SPECIFICATIONS

A. Dimension	Ø155.0 x 243.4mm (Ø6.1” X 9.58”)

B. Weight	2.2kg (4.85 lb)

C. Color	Ivory

D. Material	Plastic

2.11	CERTIFICATIONS

A. UL Listed

B. UL Listed to Canadian safety standards

C. CE mark

D. FCC mark

2.12	WARRANTY

A. 3 years