SNP-3371TH &  SNP-3302H 4CIF 37X/30X NETWORK PTZ DOME CAMERA

TECHNICAL SPECIFICATIONS	SECURITY SYSTEM

DIVISION – 28 ELECTRONIC SAFETY AND SECURITY

LEVEL 1__28 20 00 ELECTRONIC SURVEILLANCE

LEVEL 2__28 23 00 VIDEO SURVEILLANCE

LEVEL 3__28 23 29 VIDEO SURVEILLANCE REMOTE DEVICES AND SENSORS

PART 2 – PRODUCTS

2.01	GENERAL

A.	All equipment and materials used shall be standard components that are regularly manufactured and used in the manufacturer’s system.

B.	All systems and components shall have been thoroughly tested and proven in actual use.

C.	All systems and components shall be provided with the availability of a toll-free (U.S. and Canada), 24-hour technical assistance program (TAP) from the manufacturer.  The TAP shall allow for immediate technical assistance for either the dealer/installer or the end user at no charge for as long as the product is installed.

2.02	SNP-3371TH & SNP-3302H 4CIF 37X/30X NETWORK PTZ DOME CAMERA

A.  The cameras shall have a 1/4” imager and provide 600TV lines resolution in color, with a minimum illumination to 0.7 Lux in color and 0.07 in black/white, and record at up to 30 fps (NTSC) and 25fps (PAL) at 4CIF.

B.	The cameras shall provide up to 37x (3.5~129.5mm) optical zoom, with 12x digital zoom.

C. 	The cameras shall provide SD memory and bi-directional audio support.

D.	The cameras shall have an IP66-rated body.

E.	The SNP-3371TH camera shall provide advanced auto-tracking.

  - ELECTRICAL SPECIFICATIONS

- Input Voltage		24V AC +10%, PoE+ (IEEE 802.3at)

- Power Consumption, max.		22W; 64W with heater on

  - DSP

- Camera ISP		SV5

2.04 	VIDEO SPECIFICATIONS

A. Imaging Device		1/4” vertical double density interline transfer CCD

B. Total Pixels (horizontal x vertical)

1. NTSC models		811 x 508

2. PAL models		795 x 596

C. Effective Pixels (horizontal x vertical)

1. NTSC models		768 x 494

2. PAL models		752 x 582

D. Scanning System		Progressive, w/ VPS on. Interlaced Scan w/WDR on,

E. Synchronization		Internal, Line lock

F. Frequency (horizontal, vertical)

1. NTSC models		15.734KHz, 59.94Hz

2. PAL models		15.625KHz, 50Hz

G. Horizontal Resolution		600 TV Lines, color

H. Min. Illumination

1. Color 		0.7Lux @F1.6 (50 IRE), 0.0027 Lux (Sens-up, 256x),

2. B/W		0.03Lux @F1.6 (50 IRE), 0.0001Lux (Sens-up, 256x)

I. S / N (Y signal) 		52dB

J. I. Video Output		CVBS: 1.0 Vp-p, 75Ω composite

2.05	LENS

A. Focal Length (Zoom Ratio)

1. SNP-3371TH		3.5 ~ 129.5mm (37x)

2. SNP-3302H		3.5 ~ 105mm (30x)

B. Max. Aperture Ratio

1. SNP-3371TH		F1.6(Wide) ~ F3.9(Tele)

2. SNP-3302H		F1.6(Wide) ~ F3.6(Tele)

C. Min. Object Distance		1.8m (5.91ft)

D. Angular Field of View (H,V)

1. SNP-3371TH		H: 55.5˚(Wide)~1.59˚(Tele), V: 42.5˚(Wide)~1.19˚(Tele)

2. SNP-3302H		H: 55.5˚(Wide)~1.77˚(Tele), V: 42.5˚(Wide)~1.33˚(Tele)

E. Focus		AF, One shot AF, Manual

F. Zoom Movement Speed

1. SNP-3371TH		2.5x/sec

2. SNP-3302H 		2.2x/sec

2.06 	PAN/TILT

A. Pan Speed/Range		Preset: 500°/sec, Manual: 0.024°/sec ~ 120°/sec

B. Pan Range		360° Endless

C. Tilt Speed		Preset: 500°/sec, Manual: 0.024°/sec ~ 120°/sec

D. Tilt Range		190° (-5° ~185°)

E. Presets		255, with +0.1° accuracy

F. Auto Tracking		Model SCP-3371TH

2.07 	OPERATIONAL SPECIFICATIONS

A. On-Screen Display		English

B. Camera Title		On, Off (displays up to 15 characters)

C. Day & Night		Auto (IRC), Color, B/W

D. Backlight Compensation		BLC, HLC, WDR, Off

E. Wide Dynamic Range

1. NTSC Models		128x (52dB)

2. PAL models		160x (52dB)

F. Contrast Enhancement (SSDR)	Off, On

G. Digital Noise Reduction
	SSNRIII (2D +3D Noise Filter)	Off, On

H. Digital Image Stabilization		Off, On

I. Motion Detection		Yes

J. Privacy Masking		On, Off (8 programmable zones)

K. Sens-up (Frame Integration)		Off, Auto (2x ~ 512x)

L. Gain Control		Off, Low, Medium, High, Manual

M. White Balance		ATW, Indoor, Outdoor, Manual, 
AWC (1,700K~11,000K)

N. Electronic Shutter Speed

1. NTSC models		1/60 ~ 1/20,000sec, Manual, A.FLK

2. PAL models		1/50 ~ 1/20,000sec, Manual, A.FLK

O. Digital Zoom		12x

P. Flip/Mirror		Digital Flip

Q. Intelligent Video Analytics		Appear/Disappear, Fence, Area

R. Alarm I/O		Input 4 each, Output 2 each

S. Remote Control Interface		RS-485, RS-422

T. RS-485 Protocol		Samsung-T, Samsung-E, Pelco-D, Pelco-P,

Panasonic, Honeywell, AD, Vicon

2.08	NETWORK

A. Ethernet 		RJ-45 (10/100 Base-T)

B. Video Compression Format		H.264, MPEG4, MJPEG

C. Resolution

1. NTSC Models		704 x 480, 352 x 240, 176 x 120

2. PAL models		704 x 576, 352 x 288, 176 x 144

- Frame Rate

1. NTSC Models		30fps

2. PAL models		25fps

D. Video Quality Adjustment

1. H.264, MPEG-4 		Compression Level, Target Bitrate Level

2. MJPEG		Quality Level Control

E. Bitrate Control Method

1. H.264, MPEG4		CBR or VBR

2. MJPEG		VBR

F. Streaming Capability 		Multiple Streaming (Up to 10 Profiles)

G. Audio I/O		Mic/ Line in, Line out

H. Audio Compression Format 		G.711 u-law

J. Audio Communication		Bi-directional audio

I. IP 		IPv4, IPv6

J. Protocol 		TCP/IP, UDP/IP, RTP(UDP), RTP(TCP), RTSP, NTP,
HTTP, HTTPS, SSL, DHCP, PPPoE, FTP, SMTP, ICMP, IGMP, SNMPv1, v2c, v3(MIB-2), ARP,DNS, DDNS, ONVIF

K. Security		HTTPS (SSL) Login Authentication, 
Digest Login Authentication, IP Address Filtering, 
User access Log, 802.1x authentication

L. Streaming Method 		Unicast / Multicast

M. User Access, maximum		10 users at Unicast Mode

N. Memory Slot 		SD/SDHC Memory Slot

O. ONVIF Conformance 		Yes

P. Web Viewer Supported OS		Windows XP, Windows Vista, Windows 7, MAC OS

Q. Supported Browser		Internet Explorer 6.0 or Higher, Firefox, Chrome, Safari

R. Central Management		NET-I Viewer

2.09	ENVIRONMENTAL SPECIFICATIONS

A. Operating Temperature 		-50°C ~ +50°C (-58°F ~ +122°F)

B. Operating Humidity		up to 100% RH

C. Ingress Protection		IP66 (waterproof)

2.10	MECHANICAL SPECIFICATIONS

A. Dimension		ø248 x 331mm (ø 9.76 x 13.03”)

B. Weight		4.6 Kg (10.14 lb)

C. Materials		Aluminum, Plastic sun-shield

D. Colors		Ivory

2. 11	MODELS

A. NTSC

1. SNP-3371THN		basic with IP66 housing and auto tracking

2. SNP-3302H		basic with IP66 housing

B. PAL

1. SNP-3370THP		basic with IP66 housing and auto tracking

2.SNP-3302HP		basic with IP66 housing

2.12	ACCESSORIES

A. SBP-300WM   		PTZ Wall Mount

B. SBP-300CM   		Ceiling Mount

C. SBP-300LM		Speed Dome ParaPet Mount Adaptor

D. SBP-300PM 		Pole Mount for SBP-300WM

E. SBP-300KM		Corner Mount for SBP-300WM

2.13	CERTIFICATIONS

A. FCC (Class A), UL/cUL Listed	SNP-3371THN, SNP-3302H

B. CE, UL/cUL Listed		SNP-3371THP, SNP-3302HP

2.14	WARRANTY

A. 3 years parts and service