SNP-5300(H) 1.3 MEGAPIXEL HD 30X NETWORK PTZ DOME CAMERA

TECHNICAL SPECIFICATIONS	SECURITY SYSTEM

DIVISION – 28 ELECTRONIC SAFETY AND SECURITY

LEVEL 1__28 20 00 ELECTRONIC SURVEILLANCE

LEVEL 2__28 23 00 VIDEO SURVEILLANCE

LEVEL 3__28 23 29 VIDEO SURVEILLANCE REMOTE DEVICES AND SENSORS

PART 2 – PRODUCTS

2.01	GENERAL

A.	All equipment and materials used shall be standard components that are regularly manufactured and used in the manufacturer’s system.

B.	All systems and components shall have been thoroughly tested and proven in actual use.

C.	All systems and components shall be provided with the availability of a toll-free (U.S. and Canada), 24-hour technical assistance program (TAP) from the manufacturer.  The TAP shall allow for immediate technical assistance for either the dealer/installer or the end user at no charge for as long as the product is installed.

2.02	SNP-5300 1.3 MEGAPIXEL HD 30X NETWORK PTZ DOME CAMERA

    - The camera shall be of a dome type available in an internal or external version. The camera shall be ivory in appearance with a aluminum / plastic body and polycarbonate dome. The external camera shall have ingress protection to IP66 and feature a heater and sun shield

    - The camera shall feature a motorized pan and tilt mechanism capable of panning at 500°/s and tilt movement at 500°/s

    - The camera shall be capable of capturing an image up to 1280x1024 at 30 images per second

    - The camera shall feature a day / night mode that incorporates an infrared cut filter removal mechanism for true colour reproduction and the best possible low light performance

    - The camera shall feature a 3.5~105mm 30x zoom lens with continuous and one shot autofocus functions

    - The camera shall feature Wide Dynamic Range with a gain of 96db. This feature shall not affect the frame rate of the camera.

    - The camera shall support PoE+ operation

    - The camera shall feature a high performance 2D & 3D noise reduction that automatically adapts the type of technology used according to movement in the field of view. 2D noise reduction compares adjacent pixels while 3D technology compares the same pixel in the previous and subsequent images, giving a higher level of detail. When the camera detects movement in a region of the image it will apply 2D noise reduction to that area and 3D noise reduction to the remainder of the image

    - The camera shall feature an automatic back light compensation technology that detects and enhances dark areas in the field of view and increases the gain in those areas.

    - The camera shall feature built in license free video analytics functions including line crossing, appear/disappear, camera tamper (scene change) and enter/exit a predefined zone.

    - The camera shall feature a face detection technology that can be used to create an event whenever there is a face or multiple faces in the image. The technology should be able to detect 35 faces simultaneously.

    - The camera shall feature a smart codec that can use a higher quality compression for defined areas of the image, thereby prioritising the encoding of the most important areas of the field of view.

    - The camera shall feature a backlight compensation technology that can be used to manually select an area of high brightness in the field of view and adjust the gain in that area.

    - The camera shall feature a highlight compensation function that automatically detects very bright areas of the image and changes them to a previously configured greyscale. This technology helps to reduce the flaring effect of bright lights such as a torch or car headlights.

    - The network camera shall provide video transmission in an open format with H.264 or MJPEG compression.

    - The camera shall support ONVIF architecture for operation with 3rd party systems.

    - The camera shall be capable of simultaneously transmitting multiple video streams of different resolution, compression, frame-rate and compression settings.

    - The network camera should be configurable through a built in web server that can be accessed via standard browsers including Internet Explorer, Firefox, Chrome & Safari

    - The camera shall feature a line level audio input and output capable of duplex operation.

    - The cameras shall support a SDHC flash memory card for recording video footage on event, network loss or on a one second interval

    - All operation and configuration menus shall be provided in English, French, German, Spanish, Italian, Chinese, Korean, Russian, Japanese, Swedish, Danish, Portuguese, Turkish, Polish, Czech, Romanian, Serbian, Dutch, Croatian, Hungarian and Greek

2.03	ELECTRICAL SPECIFICATIONS

A. Input Voltage		24V AC, PoE (IEEE802.3at)

B. Power Consumption

1. SNP-5300N/P		15W(AC24V), 13W(PoE+)

2. SNP-5300HN/HP		15W(AC24/PoE+, Heater Off),

53W(AC24V Heater On), 25W(PoE+ Heater On

2.04 	VIDEO SPECIFICATIONS

A. Imaging Device		1/4-type Exmor CMOS (SONY IMZ076LQZ-C)

B. Total Pixels (horizontal x vertical)	1392(H) x 1076(V)

C. Effective Pixels (horizontal x vertical)	1368(H) x 1049(V)

D. Scanning System		Progressive

E. Min. Illumination

1. Color 		Color 0.5Lux(50IRE), 0.2Lux(30IRE)/F1.35

2. B/W		BW 0.03Lux(50IRE), 0.009Lux(30IRE)/F1.35

F. Video Output		CVBS: 1.0 Vp-p, 75Ω composite

1. NTSC		704x480, for installation

2. PAL		704x576, for installation

2.05	LENS

A. Focal Length (Zoom ratio)		3.5~105mm (30X)

B. Max. Aperture Ratio		F1.35(Wide) / F3.7(Tele)

C. Min. Object Distance

1. Indoor 		1.8m (5.90ft)

2. Outdoor		1.7m(5.57ft)

D. Angular Field of View		H : 54.85˚(Wide) ~ 2.00˚(Tele)

V : 44.61˚(Wide) ~ 1.6˚(Tele)

E. Focus		AF / One-Shot AF / Manual

F. Lens Type		DC Auto Iris

G. Mount type		Board-in

2.06 	PAN/TILT

A. Pan Range		360° endless

B. Pan Speed		Preset: 500°/sec

Manual: 0.024°/sec ~ 120°/sec

C. Tilt Range		210˚(-15˚ ~195˚ )

D. Tilt Speed		Preset : 500˚/sec, Manual : 0.024˚/sec ~120˚/sec

E. Preset Positions		255

F. Preset Accuracy		 0.2

2.07 	OPERATIONAL SPECIFICATIONS

A. Camera Title		Off, On (displays 15 characters)

B. Day & Night		Auto (IRC), Color, B/W

C. Backlight Compensation		Off / BLC / WDR / HLC

D. Contrast Enhancement 		SSDR: Off, On

E. Digital Noise Reduction		SSNR III (2D+3D noise filter: Off, On

F. Digital Image Stabilization		Off, On

G. Motion Detection		Off, On (4 programmable zones)

H. Privacy Masking		Off / On (12 Rectangle programmable zones)

I. Sens-up (Frame Integration)		Off, Auto (2x ~ 60x)

J. Gain Control		Off, Low, Medium, High, Manual

K. White Balance		AWC, Manual, Indoor, Outdoor,

ATW (2,400°K ~ 11,000°K)

L. Electronic Shutter Speed		ESC / FLK / Manual (1/30 ~ 1/33,000)

M. Digital Zoom		12x

N. Flip/Mirror		Off, On

O. Wide Dynamic Range		90dB

P. Intelligent Video Analytics		Tampering, Virtual Line, Enter/Exit, Appear / Disappear,

Audio Detection, Face Detection(5ea)

Q. Alarm I/O		Input 4 each, Output 2 each (Relay)

2.08	NETWORK

A. Ethernet 		RJ-45 (10/100 Base-T)

B. Video Compression Format		H.264 (MPEG-4 Part 10/AVC), Motion JPEG

C. Resolution

1. NTSC		SXGA (1280 x 1024), 1280 x 960,

HD (16 : 9, 1280 x 720p), 1024 x 768,

SVGA (800 x 600), VGA (640 x 480), QVGA (320 x 240)

2. PAL		SXGA (1280 x 1024), 1280 x 960,

HD (16 : 9, 1280 x 720p),

1024 x 768, SVGA (800 x 600), VGA (640 x 480),

QVGA (320 x 240)

D. Frame Rate		30FPS

E. Video Quality Adjustment

1. H.264, MPEG-4 		Compression Level, Target Bitrate Level

2. MJPEG		Quality Level Control

F. Bitrate Control Method

1. H.264, MPEG4		CBR or VBR

2. MJPEG		VBR

G. Streaming Capability 		Multiple Streaming (Up to 10 Profiles)

H. Audio I/O		Mic(Line)-in Selectable via UI, Line-out (Mono, 1Vrms)

I. Audio Compression Format 		G.711 u-law, G.726

J. Audio Communication		bi-directional audio(2way)

K. IP 		IPv4, IPv6

L. Protocol 		TCP/IP, UDP/IP, RTP(UDP), RTP(TCP), RTSP, NTP, HTTP, HTTPS, SSL, DHCP, PPPoE, FTP, SMTP, ICMP, IGMP, SNMPv1/v2c/v3(MIB-2), ARP, DNS, DDNS, QoS, PIM-SM, UPnP

M. Security		HTTPS(SSL) Login Authentication

Digest Login Authentication, IP Address Filtering

User access Log, 802.1X Authentication

N. Streaming Method 		Unicast / Multicast

O. User Access, maximum		10 users at Unicast Mode

P. Memory Slot 		SD/SDHC Memory Slot

Q. ONVIF Conformance 		Yes

R. Webpage Language		English, French, German, Spanish, Italian, Chinese, 				Korean, Russian, Japanese, Swedish, Denish, 					Portuguese, Turkish, Polish, Czech, Rumanian, Serbian, 			Dutch, Croatia, Hungary and Greek

S. Web Viewer Supported OS		Windows XP, Windows Vista, Windows 7, MAC OS

T. Supported Browser		Internet Explorer 7.0 or Higher, Firefox

Google Chrome, Apple Safari

U. Central Management		NET-I Viewer

2.09	ENVIRONMENTAL SPECIFICATIONS

A. Operating Temperature 		-50°C ~ +55°C (-58°F ~ +131°F)

-30°C ~ +55°C, PoE+ Mode

B. Operating Humidity		~ 90% RH, AC24V Mode

C. Ingress Protection		IP66 Grade IP66 (SNP-5300H only)

2.10 	MECHANICAL SPECIFICATIONS

A. Dimension 		H293.6 x Ø220 mm

B. Weight		3.2Kg

C. Materials		Aluminum, Plastic sun-shield

D. Color		Ivory

2. 11	MODELS

A.  SNP-5300HN/HP		basic with vandal-resistant body, heater and sun shield

2.12	CERTIFICATIONS

A. FCC (Class A), UL/cUL Listed

B. CE, UL/cUL Listed

2.13	WARRANTY

A. 3 years parts and service