SNV-1080N   VGA  VANDAL RESISTANT NETWORK DOME CAMERA

TECHNICAL SPECIFICATIONS	SECURITY SYSTEM

DIVISION – 28 ELECTRONIC SAFETY AND SECURITY

LEVEL 1__28 20 00 ELECTRONIC SURVEILLANCE

LEVEL 2__28 23 00 VIDEO SURVEILLANCE

LEVEL 3__28 23 29 VIDEO SURVEILLANCE REMOTE DEVICES AND SENSORS

PART 2 – PRODUCTS

2.01	GENERAL

A.	All equipment and materials used shall be standard components that are regularly manufactured and used in the manufacturer’s system.

B.	All systems and components shall have been thoroughly tested and proven in actual use.

C.	All systems and components shall be provided with the availability of a toll-free (U.S. and Canada), 24-hour technical assistance program (TAP) from the manufacturer.  The TAP shall allow for immediate technical assistance for either the dealer/installer or the end user at no charge for as long as the product is installed.

2.02	SNV-1080N VGA VANDAL RESISTANT NETWORK DOME CAMERA

A.  This VGA network camera that shall provide up to (640 x 480) resolution.

B.  The camera shall have 2.3 ~ 7.9mm varifocal lens.

C.  	The camera shall support simultaneous transmission of multiple codec (H.264 and MJPEG).

D. 	The camera shall utilize PoE.

E.  	The camera shall have -10°C ~ +50°C (+14°F ~ +122°F) / 20% ~ 80% RH

F.	The camera shall provide a customizable on-screen display (OSD) which shall be available in English, French, German, Spanish, Italian, Chinese, Korean, Russian, Japanese, Swedish, Danish, Portuguese, Turkish, Polish, Czech, Rumanian, Serbian, Dutch, Croatian, Hungarian, and Greek.

  - ELECTRICAL SPECIFICATIONS

- Input Voltage	12V DC, PoE (IEEE802.3af)

- Power Consumption, max.	5W

2.04	CAMERA

A. Imaging Device	1/4" PS CMOS

B. Total Pixels (horizontal x vertical)	680(H) x 512(V)

C. Effective Pixels (horizontal x vertical)	640(H) x 480(V)

D. Scanning System	Progressive

E. Min. Illumination

1. Color	0.7Lux (F1.2)

F. SN Ratio	50dB

G. Video Output	DIP Connector type

2.05	LENS

A. Focal Length (Zoom Ratio)	2.3 ~ 7.9mm varifocal

B. Aperture ratio, max.	F1.2

C. Angular Field of View	H : 94°(Wide) ~ 26.5°(Tele), V : 70°(Wide) ~ 20°(Tele)

D. Focus control	Manual

E. Drive Type	DC auto iris

F. Mount Type	Board type (Ø14)

2.06	OPERATIONAL SPECIFICATION

A. Camera Title	Off / On (Displayed up to 15 characters

B. Day and Night	Auto (S/W) / Color / B/W / External B/W

C. Backlight Compensation	Off / BLC

D. Contract Enhancement	SSDR (Samsung Super Dynamic Range) (Off / On)

E. Digital Noise Reduction, 	SSNRIII (2D+3D noise filter) (Off / On)

F. Motion Detection	Off / On (4 programmable zones)

G. Privacy Masking	Off / On (32ea 4 points polygonal)

H. Sens-up (Frame Integration)	Off / Auto (2x ~ 60x)

I. Gain Control	Off / Low / Medium / High

J. White Balance	ATW / AWC / Manual / Indoor / Outdoor

K. Electronic Shutter Speed	Auto / A.FLK / Manual (60x ~ 1/12000sec)

L. Flip/Mirror	Off, On

M. Intelligent Video Analytics	Face detection

N. Alarm I/O	Input, 1 each.

2.08	NETWORK

A. Ethernet	RJ-45 (10/100Base-T)

B. Video Compression	H.264,MJPEG

C. Resolution 	4 : 3 Mode - 640 x 480 / 320 x 240 / 160 x 120

D. Max Framerate	Max. 30fps at all resolutions

E. Video Quality

1. H.264,	H.264 : Compression level, Target bitrate level control

2. MJPEG	MJPEG : Quality level control

F. Bitrate Control

1. H.264	H.264 : CBR or VBR, MJPEG : VBR

G. Streaming	Multiple, up to 10 profiles

Audio Format	Mic/Line in , Line out  G.711 u-law   Bi-directional audio

H. IP		IPv4, IPv6

I. Network Protocol	TCP/IP, UDP/IP, RTP (UDP), RTP (TCP), RTSP, NTP,

HTTP, HTTPS, SSL, DHCP, PPPoE, FTP, SMTP, ICMP,

IGMP,  SNMPv1, v2c, v3 (MIB-2), ARP, DNS, DDNS,

ONVIF

J. Security	HTTPS (SSL) login authentication, Digest login 
		authentication, IP Address filtering, User access log,

K. Streaming Method	Unicast, Multicast

L. User Access 	5 users at Unicast

M. ONVIF Conformance	Yes

O. Webpage Language	English, French, German, Spanish, Italian, Chinese, 
		Korean, Russian, Japanese, Swedish, Danish, 
		Portuguese, Turkish, Polish, Czech, Rumanian, Serbian, 
		Dutch, Croatian, Hungarian, and Greek

P. Web Viewer

1. Supported OS	Windows XP, Windows Vista, Windows 7, MAC OS

2. Supported Browser	Internet Explorer 6.0 or higher, Firefox, Chrome, Safari

Q. Central Management Software	NET-i Viewer

2.09	ENVIRONMENTAL SPECIFICATIONS

A. Operating Temperature	-10°C ~ +50°C (+14°F ~ +122°F) / 20% ~ 80% RH

2.10	PHYSCIAL SPECIFICATIONS

A. Dimension	Ø115.8 x 92.7mm (Ø4.56" x 3.65")

B. Weight	380g (0.84lb)

2.11	CERTIFICATIONS

A. UL Listed

B. UL Listed to Canadian safety standards

C. CE mark

D. FCC mark

2.12	WARRANTY

A. 3 years, parts and labor.