Hanwha Vision is a global leading supplier of solutions for IP and analog video surveillance. Building on the company's history of innovation, Hanwha Vision is dedicated to providing systems solutions with the highest levels of performance, reliability and cost-effectiveness. Hanwha Vision is committed to the continued development of innovative systems products for professional security applications.

For additional information, https://www.hanwhavision.com/en/, https://hanwhavisionamerica.com

- PRODUCTS

  - EQUIPMENT

    - Manufacturer: Hanwha Vision (https://www.hanwhavision.com/en/, https://hanwhavisionamerica.com)

    - Model: SNZ-5200

    - Alternates: None

  - GENERAL DESCRIPTION

    - All equipment and materials used shall be standard components that are regularly manufactured and used in the manufacturer’s system.

    - All systems and components shall have been thoroughly tested and proven in actual use.

    - All systems and components shall be provided with the availability of a toll-free (U.S. and

    - Canada), 24-hour technical assistance program (TAP) from the manufacturer. The TAP shall allow for immediate technical assistance for either the dealer/installer or the end user at no charge for as long as the product is installed.

    - Camera – The camera device shall have the following physical and performance properties

      - The camera shall provide 4.45~89mm (20x) optical zoom with 16x digital zoom.

      - The camera shall support PoE plus, SD memory, and bi-directional audio.

      - All operation and configuration menus shall be provided in English, Korean, Japanese, Chinese, French, German, Spanish, Italian, Russian, Polish, Czech, Turkish, Dutch, Portuguese, Swedish, Danish, Thai, Romanian, Serbian, Croatian, Hungarian, and Greek.

  - DETAILED SPECIFICATIONS

    - VIDEO SPECIFICATIONS

      - Imaging Device: 1/3” 1.3M PS CMOS

      - Total Pixels (horizontal x vertical): 1,384 x 1,076

      - Effective Pixels (horizontal x vertical): 1,329 x 1,049

      - Scanning System: Progressive

      - Min. Illumination

        - Color 0.7Lux @F1.2 (50IRE), 0.01Lux (Sens-up 60x, 50IRE),

        - B/W 0.08Lux @F1.6 (50IRE), 0.001Lux (Sens-up 60x, 50IRE)

      - S / N: (Y signal) 52dB

      - Video Output: CVBS 1.0 Vp-p, 75Ω composite

        - NTSC 704x480, for installation

        - PAL 704x576, for installation

    - LENS

      - Focal Length (Zoom ratio): 4.45 ~ 89mm (20x)

      - Max. Aperture Ratio: F1.6 (Wide), F2.9 (Tele)

      - Min. Object Distance: 1m (3.28ft)

      - Angular Field of View: 56.56°(Wide) ~ 3.10°(Tele) (H), 42.32°(Wide) ~ 2.34°(Tele) (V)

      - Focus: AF, One-shot AF, Manual (remote control via network)

      - Lens Type: DC Auto Iris

      - Mount type: Board-in

    - PAN/TILT

      - Preset Positions: 128 ea

    - OPERATIONAL SPECIFICATIONS

      - Camera Title: Off / On (displays up to 15 characters)

      - Day & Night: Auto (IRC) / Color / B/W

      - Backlight Compensation: Off / BLC / HLC

      - Contrast Enhancement: SSDR

      - Digital Noise Reduction: SSNR III (2D+3D noise filter)

      - Digital Image Stabilization: Off / On

      - Motion Detection: Off / On (4 programmable zones)

      - Privacy Masking: Off / On (8 programmable zones)

      - Sens-up (Frame Integration): Off / Auto (2x ~ 60x)

      - Gain Control: Off / Low / Medium / High / Manual

      - White Balance: ATW / AWC / Manual / Indoor / Outdoor

      - Electronic Shutter Speed: Auto, A.FLK, Manual (1/30 ~ 30,000sec)

      - Digital Zoom: 16x

      - Flip/Mirror: Off / On

      - Intelligent Video Analytics:  Scene Change, Virtual Line, Enter/Exit, Appear/Disappear

      - Alarm I/O:  Input 1ea, Output 1ea (Relay)

      - Remote Control Interface: RS-485/422

      - RS-485 Protocol: Samsung T/E, Pelco-P/D

    - NETWORK

      - Ethernet: RJ-45 (10/100 Base-T)

      - Video Compression Format: H.264, MPEG4, MJPEG

      - Resolution: 1280 x 1024, 1280 x 720P (HD), 1024 x 768, 800 x 600, 640 x 480, 320 x 240

      - Frame Rate: 30 fps at all resolutions

      - Video Quality Adjustment

        - 1H.264, MPEG-4 Compression Level, Target Bitrate Level control

        - MJPEG Quality Level Control

      - Bitrate Control Method

        - H.264, MPEG4: CBR or VBR

        - MJPEG: VBR

      - Streaming Capability: Multiple Streaming (Up to 10 Profiles)

      - Audio I/O: Mic/ Line in, Line out

      - Audio Compression Format: G.711 u-law

      - Audio Communication: Bi-directional audio

      - IP: IPv4, IPv6

      - Protocol: TCP/IP, UDP/IP, RTP(UDP), RTP(TCP), RTSP, NTP, HTTP, HTTPS, SSL, DHCP, PPPoE, FTP, SMTP, ICMP, IGMP, SNMPv1, v2c, v3(MIB-2), ARP, DNS, DDNS

      - Security: HTTPS (SSL) login authentication, Digest login authentication, IP address filtering, User access log, 802.1x authentication

      - Streaming Method: Unicast / Multicast

      - Max. User Access: 10 users at Unicast Mode

      - Memory Slot: SD/SDHC

      - ONVIF Conformance: Yes

      - Webpage Language: Korean, Japanese, Chinese, English, French, German, Spanish, Italian, Russian, Polish, Czech, Turkish, Dutch, Portuguese, Swedish, Danish, Thai, Romanian, Serbian, Croatian, Hungarian and Greek

      - Web Viewer: Supported OS Windows XP, Windows Vista, Windows 7, MAC OS

      - Supported Browser: Internet Explorer 6.0 or Higher, Firefox, Chrome, Safari

      - Central Management: NET-I Viewer

    - ENVIRONMENTAL SPECIFICATIONS

      - Operating Temperature: -10°C ~ +50°C (+14°F ~ +122°F)

      - Operating Humidity: 20%~ 80% RH

    - MECHANICAL SPECIFICATIONS

      - Dimension: 72 x 60.0 x 136mm (2.83 x 2.36 x 5.35")

      - Weight: 540g (1.19 lb)

      - Materials: Metal

      - Color: Dark Gray

    - ELECTRICAL SPECIFICATIONS

      - Input Voltage: 12V DC, PoE (IEEE802.3at)

      - Power Consumption: Max.12V DC 8W, PoE 7.5W

    - CERTIFICATIONS

      - FCC (Class A), UL/cUL Listed

      - CE, UL/cUL Listed

    - ACCESSORIES

      - SHB-4300H1: Extreme weatherproof housing for fixed camera

      - SHB-4200/SHB-4200H: Indoor housing for fixed camera (H=with Heater)

      - STB-4150V: Bracket for fixed camera

      - STH-500: Indoor Housing for fixed box camera

      - STH-200: Indoor Housing for fixed box camera

      - STB-400: Indoor/Outdoor enclosure bracket (use with STH-500 or STH-200)

      - SHB-4300H1: Extreme weatherproof housing for fixed camera

      - SHB-4200/SHB-4200H: Indoor housing for fixed camera (H=with Heater)

END OF SECTION

10