Hanwha Vision is a global leading supplier of solutions for IP and analog video surveillance. Building on the company's history of innovation, Hanwha Vision is dedicated to providing systems solutions with the highest levels of performance, reliability and cost-effectiveness. Hanwha Vision is committed to the continued development of innovative systems products for professional security applications.

For additional information, https://www.hanwhavision.com/en/, https://hanwhavisionamerica.com

- PRODUCTS

  - EQUIPMENT

    - Manufacturer: Hanwha Vision(http://www.hanwhavision.com/)

    - Model: SPA-M1000

    - Alternates: None

  - GENERAL DESCRIPTION

    - The SPA-M1000 is a remote microphone that can perform paging broadcasting with an IP speaker/IPA system.

    - One-way calls can be made with other IP systems as well as Hanwha Vision's network broadcasting system.

    - The device shall be powered by the switch utilizing the network cable.

    - The device shall be fully supported by an open and published API(SUNAPI), which shall provide the necessary information for the integration of functionality into third-party applications.

    - IP Microphone

      - Paging broadcasting over the network

      - Interworking with Hanwha Vision IP Speaker/IPA system

      - Hanwha Vision AOE-based network audio transmission

      - Adjust the audio input volume

    - Interoperability – The device shall be SUNAPI (HTTP API) compliant.

    - The device shall possess the following further characteristics

      - PoE or DC24V power input

      - Frequency Response: 100Hz ~ 18kHz

      - Security

        - User password protection

        - The device shall not provide a manufacturer default password. A default password change shall be required to access the speaker.

        - A minimal level of password complexity shall be required by the speaker.

        - The device shall not have a manufacturer’s back-door password.

        - The manufacturer shall provide a tool that provides the ability to make password changes to multiple speakers at the same time.

        - The device shall provide different levels of Password protection group: admin, setup, user, guest (sha-2, Digest authentication, User access log)

      - Network Protocols: IPv4, HTTP, mDNS, DNS, NTP, TCP, UDP, DHCP, ARP, ICMP

  - DETAILED SPECIFICATIONS

    - Product Type: IP Microphone

    - Line Input: Max. -7dBV, Aux Input Volume Max

    - Amplifier: 1W/8Ω, Monitor Amp

    - Embedded mic

      - Input sensitivity: 50dBV ± 3dB (Mic Volume Max)

      - S/N ratio (20kHz LPF, A-wt): ≥ 65dB

      - THD(20kHz LPF): 0.1% ≤

    - Aux

      - Input sensitivity: - 10dBV ± 3dB

      - S/N ratio (20kHz LPF, A-wt): ≥ 75dB

      - THD(20kHz LPF): 0.1% ≤

    - Network

      - Ethernet: 10/100 Base-T

      - Security

        - Password protection: admin, setup, user, guest (sha-2, Digest authentication, User access log)

        - Digest authentication

        - User access log

      - Supported Protocols: IPv4, HTTP, mDNS, DNS, NTP, TCP, UDP, DHCP, ARP, ICMP

    - System integration

      - API (Application Programming Interface): SUNAPI

      - Functional Monitoring: Connection verification, Built-in system logging

    - Electrical

      - Power input

        - PoE (IEEE 802.3af type 1 Class 3)

        - DC24V

      - Power consumption: Max. 10W, DC24V

    - Mechanicals and Environment

      - Color / Material: Black & Gray / Plastic

      - Dimensions (W x H x D): 200(W) x 73(H) x 206(D) mm (7.84 x 2.87 x 8.11 inch)

      - Weight: 1.29Kg (2.843lb)

      - Operating Temperature:  -10 ~ +40℃ (+14°F ~ +104°F)

      - Operating Humidity: 10~95% RH (Non-Condensing)

    - Certification

      - EMC

        - EN 55032/55035

        - FCC Part 15 Subpart B, ICES-003

      - Safety

        - UL 62368-1

        - CAN/CSA C22.2 No.2 62368-1

END OF SECTION

10