SRN-4000 64-CHANNEL NETWORK VIDEO RECORDER

TECHNICAL SPECIFICATIONS	SECURITY SYSTEM

DIVISION – 28 ELECTRONIC SAFETY AND SECURITY

LEVEL 1__28 20 00 ELECTRONIC SURVEILLANCE

LEVEL 2__28 23 00 VIDEO SURVEILLANCE

LEVEL 3__28 23 29 VIDEO SURVEILLANCE REMOTE DEVICES AND SENSORS

1.01	GENERAL

A.	All equipment and materials used shall be standard components that are regularly manufactured and used in the manufacturer’s system.

B.	All systems and components shall have been thoroughly tested and proven in actual use.

C.	All systems and components shall be provided with an explicit manufacturer warranty.

1.02	SRN-4000 64-CHANNEL NETWORK VIDEO RECORDER

A. The network video recorder (NVR) shall support up to 64 network cameras and shall be compatible with ONVIF compliant network cameras. The NVR will have the throughput of 400mbps for recording and 200mbps for network transmission

B. The NVR shall support H.264, MPEG4 and MJPEG Multiple codec.

C. The NVR shall support the iPolis mobile viewer for iPhone and Android phone

1.03	DISPLAY

- N/W Camera

1. Inputs 				Up to 64 network camera support

2. Resolution			CIF ~ 5M

3. Protocols 	Samsung, ONVIF

- LIVE

1. Local Display	HDMI / VGA

2. Multi Screen Display	Local monitor : 1, 4, 9, 16, 1+5, 1+7, 1+12, Sequence,

Web : 1, 4, 9, 16, 32, 64, Sequence

1.04	PERFORMANCE

A. OS Embedded 			Linux

B. Recording

1. Compression			H.264, MPEG4, MJPEG

2. Recording Bit Rate 		Max. 400Mbps (2M 64camera real-time recording)

3. Mode				Manual, Schedule (Continuous/Event),

Event (Pre/Post)

4. Event Trigger			Alarm input, Video loss, Camera event(Sensor, MD, 						Video Analytics), VA(Up to 4ch selectable, Advanced 						MD, Object classification(People, Car))

5. Event Action			E-mail, PTZ preset, Alarm out, Buzzer, Monitor out

C. Search & Playback

1. Search mode			Date/time(calendar), Event log list

(all search included in Preview)

2. Playback function 		Fast Forward/Backward, Move one step up,

Move one step down

3. Playback bandwidth		25Mbps(16Ch simultaneously)

4. Simultaneous Playback		16CH(Local monitor, CMS), 4CH(Web)

5. Resolution			CIF ~ 5M

6. Playback Function		Fast forward, backward, Move one step up/ down

D. Network

1. Ethernet 				RJ-45, Gigabit Ethernet x 4

2. Transmission speed 		Total Throughput Bandwidth Max : 700Mbps

Transmission Bandwidth Max 	  : 400Mbps

3. Remote users 			1 Search, 10 Live Unicast, 20 Live Multicast

4. Protocol support 			TCP/IP, UDP/IP, RTP(TCP), RTP(UDP), RTSP, NTP, 							HTTP, DHCP, PPPoE, SMTP, ICMP, IGMP, ARP, DNS, 							DDNS, UPnP, ONVIF, HTTPS, SNMP

5. Viewer Software 			Type : Webviewer, SmartViewer

CMS support : Support SDK / CGI

6. DDNS				Samsung Ipolis, DDNS

7. IP				IPv4/v6

8. Security				IP address Filtering, User access log, 802.1x 								authentication, Encryption

9. Language			English, French, German, Italian, Spanish, Russian, 							Turkish, Polish, Dutch, Swedish, Czech, Portuguese, 							 Danish, Rumanian, Serbian, Croatian, Hungarian, 							Greek, 	Norwegian, Finnish, Korean, Chinese, Japanese, 						Thai

10. OS				Supported OS : Window XP (service pack 2 or above), 							Vista, 7, 8, Mac OS X (10.4.8 or above)

11. Web Browser			MS IE 8.x, 9.x, Google Chrome, Mac Safari, Firefox 2.x, 							3.x

12. Smart Phone			Platform : Android, IOS

Protocol Support : RTP, RTSP, HTTP, CGI

Max. Remote Users : Live 10, Playback 1

E. Storage

1. Built-in				2TB 1ea

2. Internal HDD 			12(Hot swap), Max 36TB

3. External HDD 			NAS(ISCSI) : vessRaid 1840i, Max. 192TB(JBOD)

4. RAID	 			RAID-5/6

F. Back up				File Back up(Via Web) : BU/Exe(GUI), JPG, 								AVI(Network), Function : Single channel play, Date-							time/title display

G. Sensor				Input / Output : 8 / 4 (NO/NC selectable)

H. Alarm				input : 64CH(Network), compression : G.711, G.726

Audio Communication : 2-Way

1.05 	INTERFACE

A. Front

1. Indicator				LED status indicator : HDD action 12, RAID status 1, 							Alarm 1, Power 1, Record 1, Back up 1, Network 1

2. Switch				PWR switch 1ea, Key-lock  1ea

B. Alarm

1. Inputs				 Terminal 8 inputs (Terminal block)

2. Outputs 			 Terminal 4 outputs (Terminal block)

C. Connections

1. Ethernet 			RJ-45 4ea(GbE) w/ LINK/ACT LED

2. Video 				1 VGA, 1 HDMI

3. USB				2ea(Front)

4. Reset				Swtich(1ea)

5. Power cord			1ea AC inlet

1.06 	GENERAL

A. Electrical

1. Input Voltage/Current 		100 ~ 240V AC ±10%, 50/60Hz, 3 ~ 1.5A(Dual SMPS)

2. Power consumption 	Max 187W(546BTU with 1TB 12 HDDs)

B. Environmental

1. Operating Temperature	+0°C ~ +40°C (+32°F ~ +104°F)

2. Operating Humidity	20% ~ 85% RH

C. Mechanical

1. Dimensions(WxHxD)	436.0 x 132.0 x 450.0mm(17.17” x 5.2” x 17.72”)(3U)

2. Weight(1 x Hard Disks)	Approx. 11.8Kg(14.77lb)

D. Approvals

1. Safety	UL

2. EMC	CE, FCC, KCC, CCC, Gost-R