Hanwha Vision is a global leading supplier of solutions for IP and analog video surveillance. Building on the company's history of innovation, Hanwha Vision is dedicated to providing systems solutions with the highest levels of performance, reliability and cost-effectiveness. Hanwha Vision is committed to the continued development of innovative systems products for professional security applications.

For additional information, https://www.hanwhavision.com/en/, https://hanwhavisionamerica.com

- PRODUCTS

  - EQUIPMENT

    - Manufacturer: Hanwha Vision (https://www.hanwhavision.com/en/, https://hanwhavisionamerica.com)

    - Model: TNO-L4040TR

    - Alternates:	TNO-4040TR

  - GENERAL DESCRIPTION

    - This is a radiometry thermal video camera that can measure temperature.

    - Video Compression and Transmission – The camera shall have the following properties relating to the video signals it produces.

      - H.265, H.264 and MJPEG compression, each derived from a dedicated encoder and capable of being streamed independently and simultaneously

        - H.265 and H.264: Max. frame rates to 8fps

        - MJPEG: Max. frame rates to 8fps

      - The camera shall be able to configure up to 10 independent video stream per channel with differing encoding, quality, frame rate, resolution, and bit rate settings.

      - Resolution selections: 640 x 480, 640 x 360, 320 x 240

      - Simultaneous unicast access by up to 20 users

      - Multicast or unicast capable

      - Dynamic DNS (DDNS) support.

      - WiseStream Ⅱ, Dynamic GOV to efficiently manage bitrate of the video stream.

    - Camera – The camera device shall have the following physical and performance properties:

      - IP66, IK10, NEMA4X rated for protection against impacts

      - Provide video display on smart phone (iPhone, Android) to adjust viewing angle.

      - 24 privacy masking regions utilizing polygonal zones.

    - Intelligence and Analytics – The camera shall have a suite of integral intelligent operations and analytic functions to include

      - Motion detection with eight definable detection areas, minimum / maximum object size definition.

      - Detection of logical events of specified conditions from the camera’s video input

    - Analytics events: Directional detection, Motion detection, Appear/Disappear, Enter/Exit, Loitering, Tampering, Virtual line, Audio detection, Temperature change detection, Sound classification, Shock detection

    - Interoperability – The camera shall be ONVIF Profile S / G /T compliant.

    - 8 different color palettes are supported.

    - SD/SDHC/SDXC memory card and NAS recording options, with configurable pre-alarm and post-alarm recording intervals

  - DETAILED SPECIFICATIONS

    - Video

      - Image Sensor: Uncooled micro bolometer

      - Pixels per sensor: 640(H) x 480(V)

      - NETD:  <50mK

      - Pixel Size : 17㎛

    - Lens

      - Focal Length: 19 mm fixed

      - Max. Aperture Ratio: F1.0

      - Field of View: H(32˚), V(24.3°), D(39.2°)

      - Min. Object Distance: 11m (36.09ft)

      - Lens Type: Board-in Type

      - Focus Control: Fixed focus

    - . Radiometry

      - Temperature detect range -20°C ~ 130°C(-4°F ~ 266°F)

      - Temperature accuracy ±5°C (≤100°C ), ±20°C(＞100°C )

      - Temperature detection Off / On(3ea Rectangle)

      - Additional Hybrid palettes, Spot temperature reading

    - Operational Functions

      - Camera Title: Displayed up to 85 characters

      - Digital Image Stabilization: Support (Built-in gyro sensor)

      - Motion Detection: Off / On (8ea, 8 point polygonal zones)

      - Privacy Masking: Off / On (24ea, polygonal zones)

      - Video Rotation: Flip, Mirror, Hallway view(90° / 270°)

      - Single Images: The camera shall support jpg file image screenshot and export.

      - Analytics events: Directional detection, Motion detection, Appear/Disappear, Enter/Exit, Loitering, Tampering, Virtual line, Audio detection, Temperature change detection, Sound classification, Shock detection

      - Alarm I/O: Input 1ea / Output 2ea

      - Alarm Triggers: Analytics, Network disconnect, Alarm input, MQTT subscription

      - Alarm Events

        - File upload via FTP and e-mail

        - Notification via e-mail

        - Micro SD/SDHC/SDXC or NAS recording at Event Triggers

        - Alarm output

        - Handover(PTZ Preset, Send message by HTTP/HTTPS/TCP)

        - MQTT: publication

      - Video Out for installation

        - BNC: CVBS 1.0 Vp-p / 75Ω, 720 x 480(N) / 720 x 576(P)

        - Micro USB Type B, 1280 x 720

      - Storage and Recording

        - The camera shall have onboard SD card storage.

          - Card type: Micro SD/SDHC/SDXC

          - Capacity: Up to  256GB (1 slot)

          - Image content on the card shall have the ability to be downloaded to a selected destination.

        - NAS

      - Interoperability - Video streams shall be capable of supporting ONVIF protocol, profiles S / G / T.

      - Memory: 1024MB RAM, 256MB Flash

      - Application Programming Interface

        - ONVIF Profile S / G / T

        - SUNAPI(HTTP API)

        - Wisenet open platform

      - Color palettes: Whitehot, Blackhot, Rainbow, Rainbow2, Sepia, Red, Iron, Custom

    - Video Streams

      - The camera shall be able to produce 10 video profiles, which may have the following properties:

      - Encoding type: H.265, H.264, MJPEG

      - Resolution: 640 x 480, 640 x 360, 320 x 240

      - Frame rate

        - H.265 and H.264: Max.8fps

        - MJPEG: Max. 8fps

      - Smart Codec: Manual(5ea area), WiseStream Ⅱ

      - Bit rate control

        - H.265 and H.264: target bitrate level control, constant bit rate (CBR) or variable bit rate (VBR)

        - MJPEG: quality level control, variable bit rate (VBR)

      - Number of multi-streaming profiles: Up to 10 profiles

      - Streaming method: Unicast / Multicast

      - Simultaneous users (total): 20 Maximum (unicast)

    - Audio

      - Audio In

        - Selectable (Mic in / Line in)

        - Supply voltage 2.5VDC(4mA), Input impedance: approx. 2K Ohm

      - Audio Out: Line out, Max output level 1 Vrms

      - Audio Compression

        - G.711 u-law /G.726 Selectable

        - G.726 (ADPCM) 8KHz, G.711 8KHz

        - G.726: 16Kbps, 24Kbps, 32Kbps, 40Kbps

        - AAC-LC: 48Kbps at 16KHz

    - Network

      - Connectivity: RJ-45(10/100BASE-T)

      - Protocols supported: IPv4, IPv6, TCP/IP, UDP/IP, RTP(UDP), RTP(TCP), RTCP, RTSP, NTP, HTTP, HTTPS, SSL/TLS, DHCP, FTP, SMTP, ICMP, IGMP, SNMPv1/v2c/v3(MIB-2), ARP, DNS, DDNS, QoS, PIM-SM, UPnP, Bonjour, LLDP, SRTP, MQTT

      - DDNS – The camera shall support DDNS services offered by the Manufacturer and other publicly available service offerings.

      - Quality of Service (QoS) – Layer 3 DSCP

      - Security features:

        - OS / Firmware Protect: Encrypted Firmware, Secure boot, Signed Firmware

        - User authentication: Digest Authentication

        - Network authentication: IEEE 802.1X (EAP-TLS, EAP-LEAP, EAP-PEAP, MSCHAPv2)

        - Secure Communication: HTTPS, WSS (WebSocket Secure)

        - Access Control: IP-based access control

        - Data Protect: Encryption Credentials, Encrypt compress for live recording file

        - Audit: Access / System / Event Log management

        - Device ID: Device certificate (Hanwha Techwin Root CA)

      - Discovery - Manufacturer shall offer a discovery program to identify all devices of his manufacture on the network.

    - Electrical

      - Input Voltage: PoE (IEEE 802.3af, Class3), 24VAC, 12VDC

      - Power consumption

        - PoE: Max 10W, typical 8.6W

        - 12VDC: Max 9W, typical 7.5W

        - 24VAC: Max 10.5W, typical 8.9W

    - Mechanical And Environmental

      - Material: Aluminum

      - RAL Code: RAL9003

      - Dimensions (W x H)  : Φ101.97x401.8mm(4.01x15.82")

      - Weight: 3124g(6.89 lb)

      - Temperature And Humidity

        - Operating: -40°C ~ +60°C(-40°F ~ +140°F) / Less than 90% RH (Non-condensing)

        - Storage: -50°C ~ +60°C(-58°F ~ +140°F) / Less than 90% RH (Non-condensing)

      - Environmental Rating: IP66, IK10, NEMA4X

    - EMC & Safety

      - FCC 47 CFR Part 15 Subpart B

        - ANSI C63.4-2017 Class A

      - IC Regulation ICES-003 Issue 7

        - ANSI C63.4-2017 Class A

      - CE EMC-Directive 2014/30/EU

        - EN 55032:2015/A11:2020 Class A

        - EN 50130-4:2011

      - UK EMC-Regulations 2016/1091

        - BS EN 55032:2015/A11:2020 Class A

        - BS EN 50130-4:2011

      - VCCI-CISPR 32: Class A

      - AS/NZS CISPR32:2015 Class A

      - UL listed

      - CE EN IEC 63000:2018 (hazardous substances)

END OF SECTION

8