Hanwha Vision is a global leading supplier of solutions for IP and analog video surveillance. Building on the company's history of innovation, Hanwha Vision is dedicated to providing systems solutions with the highest levels of performance, reliability and cost-effectiveness. Hanwha Vision is committed to the continued development of innovative systems products for professional security applications.

For additional information, https://www.hanwhavision.com/en/, https://hanwhavisionamerica.com

- PRODUCTS

  - EQUIPMENT

    - Manufacturer: Hanwha Vision (https://www.hanwhavision.com/en/, https://hanwhavisionamerica.com)

    - Model: TNU-6324E

    - Alternates:	TNU-6324ER

  - GENERAL DESCRIPTION

    - The explosion proof camera shall have a metal housing which can prevent any inside sparks caused by the electronic components from igniting gases and conductive dust and causing explosion in a hazardous area. The camera shall also have PTZ capability.

    - Video Compression and Transmission – The camera shall have the following properties relating to the video signals it produces.

      - H.265, H.264 and MJPEG compression, each derived from a dedicated encoder and capable of being streamed independently and simultaneously.

        - H.265 and H.264 – maximum of 30/25fps(60Hz/50Hz) at all resolution

        - MJPEG – maximum of 30/25fps(60Hz/50Hz)

      - The camera shall be able to configure up to 10 independent video stream profiles with differing encoding, quality, frame rate, resolution, and bit rate settings.

      - The camera shall be able to configure various resolution selections.

        - 16:9 aspect ratio: 1920 x 1080, 1280 x 720, 800 x 448,640 x 360

        - 4:3 aspect ratio: 1280 x 960, 1024 x 768, 800 x 600, 640 x 480, 320 x 240

        - 5:4 aspect ratio: 1280 x 1024, 720 x 576

        - 3:2 aspect ratio: 720 x 480

      - The camera shall support unicast video streaming up to 20 users.

      - The camera shall support multicast video streaming.

      - The camera shall support multiple video streaming up to 10 profiles.

      - The camera shall be able to configure Dynamic DNS (DDNS). DDNS shall be provided with no additional cost by the manufacturer.

      - The camera shall provide WiseStream Ⅱ, Dynamic GOV and Dynamic FPS to efficiently manage bit rate of the video stream and reduce storage.

    - Camera – The camera device shall have the following physical and performance properties:

      - IK10 rated for protection against impacts.

      - Dust proof and water proof (IP67 rated)

      - Explosion proof (ATEX, IECEx, CE/UKCA)

      - True day/night operation with removable IR cut filter

        - Low light level operation to 0.05 lux at F1.6 in color mode and 0.005 lux at F1.6 in black and white mode.

      - The camera shall be able to produce clear images in highly contrast scenes with multi-exposure wide dynamic range up to 120dB.

      - The camera shall support digital noise reduction using both 2D and 3D noise reduction technology.

    - Intelligence and Analytics – The camera shall have a suite of intelligent analytic functions.

      - Motion detection with 8 definable detection areas with 8 point polygonal zones, and minimum/maximum object size.

      - Detection of logical events of specified conditions from the camera’s video

      - Analytics events: Defocus detection, Directional detection, Fog detection, Face detection, Motion detection, Appear/Disappear, Enter/Exit, Loitering, Tampering, Audio detection

    - Interoperability – The camera shall be ONVIF Profile S / T compliant.

    - The camera shall possess the following further characteristics:

      - NAS recording option with configurable pre-alarm and post-alarm recording intervals

      - Alarms and notifications

        - alarm notification triggers: alarm input, Analytics, Network disconnect

        - available notification means upon trigger: File upload via FTP and e-mail, Notification via e-mail, NAS recording at event triggers, Alarm output, PTZ preset

    - IP67, IK10, IECEx, ATEX, CE/UKCA

  - DETAILED SPECIFICATIONS

    - Video

      - Image Sensor: 1/2.8" 8MP CMOS

      - Resolution: 1920x1080, 1280x1024, 1280x960, 1280x720, 1024x768, 800x600, 800x448, 720x576, 720x480, 640x480, 640x360, 320x240

      - Minimum Illumination: Color 0.05Lux (F1.6, 1/30sec), B/W 0.005Lux (F1.6, 1/30sec)

    - Lens

      - Focal length: 4.44~142.6mm(32x) zoom

      - Max. Aperture Ratio: F1.6(Wide)~F4.4(Tele)

      - Field of View

        - H: 61.8 ˚(Wide) ~ 2.19°(Tele)

        - V: 36.2 ˚(Wide) ~ 1.24°(Tele)

      - Min. Object Distance: Wide 1.5m (4.92ft), Tele 2m (6.56ft)

      - Focus Control: Auto/manual/One shot AF

      - Lens Type: DC Auto Iris

    - Pan & Tilt & Rotate

      - Pan Range: 360˚ Endless

      - Pan Speed: 0.5˚/sec ~ 80˚/sec

      - Tilt Range: 180˚(-90˚~ 90˚)

      - Tilt Speed: 0.1˚/sec ~ 60˚/sec

      - Sequence: Preset(300ea), Swing, Group(6ea), Tour, Auto run, Schedule

      - Preset Accuracy: ±0.25˚

    - Operational Functions

      - Camera Title: Off / On (Displayed up to 85 characters)

      - Direction Indicator: Support

      - Day/Night Setting: Auto (ICR) / Color / B/W / Schedule

      - Backlight Compensation: Off / BLC / HLC / WDR

      - Wide Dynamic Range: 120dB

      - Contrast Enhancement: Off / On (SSDR)

      - Digital Noise Reduction: Off / On (SSNR5: 2D+3D Noise filter)

      - Digital Image Stabilization Off / On (built-in Gyro sensor)

      - Defog: Support

      - Motion Detection: Off / On (8ea, 8-point polygonal)

      - Privacy Masking: None

      - Gain Control:  Off / Low / Middle / High

      - White Balance: ATW / AWC / Manual / Indoor / Outdoor

      - Image Rotation: Flip, Mirror: Hallway view(0˚ / 90˚ / 270˚)

      - Alarm I/O:  Input 1ea / Output 1ea

      - Alarm Triggers:  Alarm Input, Analytics, Network Disconnection

      - Alarm Events:  File Upload via FTP and E-mail, Notification via E-mail, NAS recording at event triggers, Alarm output, PTZ preset

      - Intelligent Analytics: Defocus detection, Directional detection, Fog detection, Face detection, Motion detection, Appear/Disappear, Enter/Exit, Loitering, Tampering, Virtual line, Audio detection

      - Memory: 1024MB RAM, 256MB Flash

      - Water Removal: Support (with Wiper)

    - Video Streams

      - Video compression: H.265, H.264, MJPEG

      - Resolution: 1920x1080, 1280x1024, 1280x960, 1280x720, 1024x768, 800 x 600, 800 x 448, 720 x 576, 720x480, 640x480, 640x360, 320x240

      - Maximum Framerate

        - H.265 / H.264: Max. 60/50fps(60Hz/50Hz) at all resolutions

        - MJPEG: Max. 30/25fps(60Hz/50Hz)

      - Smart Codec:  Manual Mode (area-based 5EA), WiseStream Ⅱ

      - Bitrate Control Method

        - H.265 / H.264: CBR or VBR

        - MJPEG: VBR

      - Streaming Capability: Multiple streaming (Up to 10 profiles)

      - Streaming method: Unicast / Multicast

      - Simultaneous Users: Max. 20(Unicast)

      - Profile set:  Max. 10ea

      - Interoperability:  ONVIF Profile S / T, SUNAPI (HTTP API), Wisenet Open Platform

    - Audio

      - Audio In:  Mic-in / Line-in, Supply voltage 2.5V DC(4mA), Input impedance 2K Ohm

      - Audio Out:  Line out, Max. output level 1Vrms

      - Audio Compression

        - G.711 / G.726 / AAC Selectable

        - G.711 u-law 8KHz

        - G.726 (ADPCM) 16 / 24 / 32 / 40Kbps at 8KHz,

        - AAC-LC: 48Kbps at 16KHz

    - Network

      - Connectivity – Metal Shield RJ-45(10/100BASE-T)

      - Protocol: IPv4, IPv6, TCP/IP, UDP/IP, RTP(UDP), RTP(TCP), RTCP, RTSP, NTP, HTTP, HTTPS, SSL/TLS, DHCP, FTP, SMTP, ICMP, IGMP, SNMPv1/v2c/v3(MIB-2), ARP, DNS, DDNS, QoS, PIM-SM, UPnP, Bonjour, LLDP, SRTP

      - DDNS – The camera shall support DDNS services offered by the manufacturer and others publicly available service offerings

      - QoS – Layer 3 DSCP

      - Security Feature

        - OS / Firmware Protect: Encrypted Firmware

        - User authentication: Digest Authentication

        - Network authentication: IEEE 802.1X (EAP-TLS, EAP-LEAP, EAP-PEAP, MSCHAPv2)

        - Secure Communication: HTTPS, WSS (WebSocket Secure)

        - Access Control: IP-based access control

        - Data Protect: Encryption Credentials, Encrypt compress for live recording file

        - Audit: Access / System / Event Log management

        - Device ID: Device certificate (Hanwha Techwin Root CA)

      - Discovery – The manufacturer shall offer a discovery program to identify all devices of them on the network.

      - Configuration – The manufacturer shall offer a configuration program that remotely allows users to change settings on multiple cameras simultaneously.

      - Firmware upgrade – The manufacturer shall offer a program capable of upgrading multiple cameras at the same time (not requiring access to individual cameras).

      - Camera backup setting – The manufacturer shall provide a program that provides the ability to save multiple camera settings to a file and restore these camera settings if needed.

      - Reporting – The manufacturer shall provide a tool that can generate a report including thumbnail view, MAC address, IP address, serial number and other camera settings.

    - Electrical

      - Power Input Voltage: 100~240VAC

      - Power Consumption: 1.4A, Max. 87W

    - Mechanical and Environmental

      - Material: Stainless 316L

      - Color: Metallic Silver

      - Dimensions (W x H): 355.0 x 427.0 x 235.0 mm (13.97 x 16.81 x 9.25")

      - Weight: 26kg (55.32 lb.)

      - Temperature and Humidity

        - Operating: -40° C to 60° C (-40° F to 140° F) / Less than 90% RH (Non-condensing)

        - Storage: -30° C to 60° C (-22° F to 140° F) / Less than 90% RH (Non-condensing)

      - Wall Mount: SBE-100WM

      - Pole Mount: SBE-100PM

    - Certifications

      - Explosion proof

        - IECEx: Ex DB: IIC T6 Gb Ex tb IIIC T80 ℃ Db

        - ATEx: CE2460 EX II 2 GD Ex d IIC T6 Gb IP67 Ex tb IIIC T80°C Db

        - CE/UKCA: KRH 21 ATEX 1007X, Issue 2

      - EMC

        - EN 55032:2015+A11:2020

        - EN 50130-4:2011+A1:2014

        - EN IEC 61000-3-2:2019+A1:2021

        - EN 61000-3-3:2013+A2:2021

      - Environmental

        - IEC/EN 63000

        - IEC 60529 IP66, IEC/EN 62262 IK10

    - DORI Distance

      - Detect (25PPM/ 8PPF): Wide 60.7m(199.1ft) / Tele 1921.3m(6303.4ft)

      - Observe (63PPM/ 19PPF): Wide 24.3m(79.6ft) / Tele 768.5m(2521.4ft)

      - Recognize (125PPM/ 38PPF): Wide 12.1m(39.8ft) / Tele 384.3m(1260.7ft)

      - Identify (250PPM/ 76PPF): Wide 6.1m(19.9ft) / Tele 192.1m(630.3ft)

END OF SECTION

8