Hanwha Vision is a global leading supplier of solutions for IP and analog video surveillance. Building on the company's history of innovation, Hanwha Vision is dedicated to providing systems solutions with the highest levels of performance, reliability and cost-effectiveness. Hanwha Vision is committed to the continued development of innovative systems products for professional security applications.

For additional information, https://www.hanwhavision.com/en/, https://hanwhavisionamerica.com

- PRODUCTS

  - EQUIPMENT

    - Manufacturer: Hanwha Vision (https://www.hanwhavision.com/en/, https://hanwhavisionamerica.com)

    - Model: TRM-410S

    - Alternates: None

  - GENERAL DESCRIPTION

    - The manufacturer shall be responsible for rigorous testing of NVR’s reliability. The manufacturer shall provide a list of compatible hard disks that have been tested to guarantee reliable recording and the list shall be available in the manufacturer’s home page. Moreover, if the mobile NVR is unexpectedly shutdown, it shall automatically try to reboot and come back to its normal status. When the error persists, it shall automatically notify operators by sounds, alarm outs, icons on the screen, text messages, emails, or software events to VMS so that he/she can take necessary actions to repair.

    - The 8 channel mobile NVR shall have a built-in Wi-Fi interface to allow automatic back-up to servers installed in a control room without the necessity of manually detaching HDD (or SSD) and connecting it to a server.

    - The mobile NVR shall provide shutdown delay and a web command to remotely shutdown from VMS developed by Hanwha Vision as well as others. Shutdown delay and the web command shall help vehicle conserve batteries required for aforementioned archive.

    - The mobile NVR shall be fan-less and maintenance free and shall be able to operate without failure in temperature range specified in EN-50155. The operating temperature range shall be -25°C ~ +55°C.

    - The mobile NVR shall meet MIL STD-810F (US Military Standard) on robustness to vibration. The relevant category is US highway truck vibration exposures and it is equivalent to ‘Transportation by large truck or tractor-trailer combination ranging from 3200 to 6400 kilometers over improved or paved highways.

    - The mobile NVR shall allow input voltage range of 9 ~ 36V DC to utilize vehicle power supply.

    - The manufacturer shall provide two types of software for remote control of the mobile NVR.

      - Web Viewer: Built-in web server of the mobile NVR shall allow users to view live video, search for recordings, and change settings of equipment.

      - SSM Transportation: Video Management Software (VMS), specifically designed for the mobile NVR shall include the following features.

        - Automatic Backup: When the mobile NVR is within the range of Wi-Fi or VMS is able to detect the presence of the mobile NVR, the VMS shall automatically start archiving videos recorded in the mobile NVR. The archive can be continued the next time or at the next archiving station, if archive is not finished, and the users shall be able to access the archive organized in a single time line regardless of when or where it is stored.

        - Real-time Tracking: The mobile NVR shall be able to send tracking information including coordinates and speed on maps specified by users. The transmission shall be over cellular network including 3G, 4G and LTE.

        - Live: The mobile NVR shall be able to send live images, over cellular network, to VMS in JPEG format and the frame rate shall be one frame per second.

        - Emergency Notification: The mobile NVR and the VMS shall have features to notify emergencies inside the vehicle. The panic button (or emergency button) which is included in the package, shall give notifications to operators on the map as well as in logs. Moreover, the gyro sensor which is built inside the panic button shall be able to measure movements of the mobile NVR and hence the vehicle so that when the vehicle is in unusual orientation, it shall automatically trigger alarms and send the live images to the operators.

    - The NVR shall have the following further general properties

      - Install Wizard: The mobile NVR shall have easy installation feature along with plug and play which shall allow users to minimize installation effort and time. The mobile NVR shall support PoE/PoE+ and the manufacturer’s cameras shall be in DHCP configuration when out of box. This setup in the cameras, mobile NVR, along with the install wizard feature shall finish powering cameras, ID/PW settings, date/time settings, language settings, network settings, camera registration, live and recording settings within four steps when the mobile NVR is powered on for the first time.

      - Camera search and discovery: The mobile NVR shall have the capability to search the network for connected compatible cameras manufactured by Hanwha Vision as well as others.

        - If 4 or fewer cameras are searched or discovered, each camera will be automatically registered and current recording setup (fps, days of recording) will be displayed.

        - If more than 4 cameras are searched or discovered, the mobile NVR shall provide the ability to selectively register up to 4 cameras.

        - The mobile NVR shall be able to assign IP address and password for the manufacturer’s cameras by its proprietary protocol.

      - The mobile NVR shall support WiseStream, Dynamic GOV, and Dynamic fps, a smart codec used by Hanwha Vision’s WiseNet IP cameras. The smart codec shall produce visually equal video quality while reducing storage required.

      - The mobile NVR shall have a built-in PoE-switch with up to four PoE/PoE+ ports. In addition, the mobile NVR shall be able to expand up to two PoE modules, each having eight PoE/PoE+ ports.

      - The mobile NVR shall display 4 channels Moreover, it shall provide automatic profile change based on the number of tiles on the screen. If it is in full screen mode, the mobile NVR shall automatically display video in the highest resolution the relevant camera supports.

      - The mobile NVR shall provide dewarping of video produced from fish-eye cameras via VMS or web viewer.

      - Recording and playback functions

        - Support recording from CIF up to 8 MP per channel

        - 80 Mbps network camera recording throughput

        - Simultaneous playback capability up to 4 video channels

        - H.265, H.264, and MJPEG compression support

        - View status of connected storage hardware

        - Set recording schedules

        - Set up triggered recording based on

          - sensor (input) detection

          - camera event (sensor, motion detection, video analytics, defocus)

          - video loss detection

        - Available recording settings by channel for standard and event-based recording types

          - compression type

          - resolution

          - images per second

          - quality

          - data transfer limit

          - pre-event and post-event record duration

          - I-frame and full frame recording

        - Available actions upon reaching full storage capacity (with automatic notifications to users)

          - stop recording

          - overwrite

        - Search recorded data by time, event, text, or smart search. Smart search shall include search options for

          - Virtual line (in/out/both)

          - Enter/exit

      - Storage

        - USB connection for memory/storage device for video clip backup and settings export

        - Detachable storage socket that allows manually connecting HDD’s and SSD’s to PC.

      - Live view

        - Live, remote monitoring using Windows Network Viewer or Manufacturer supplied viewer

        - Configure and exercise functions for connected PTZ cameras, including functionality with compatible USB joystick

        - Capture and save snapshot images

        - Record current video in AVI format or SEC format which is proprietary video format provided from the manufacturer with options for password protection and forgery detection.

      - Remote access

        - Multicast or unicast

          - Simultaneous unicast access for live by up to 10 users

          - Simultaneous multicast access for live by up to 20 users

          - Simultaneous remote access for search by up to 3 users

        - Dynamic DNS (DDNS) support

      - VGA and High Definition (HDMI) local monitor outputs for live viewing, playback, & backup functions

      - ONVIF Profile S compliance

      - Alarm connections: Alarm block containing 6 Alarm-In’s and 4 Alarm-Out’s

        - NC (Normally Closed)

        - NO (Normally Open)

  - NVR SOFTWARE

    - The NVR shall have a built in server which provides access for authorized users to live view of connected cameras, NVR recording and playback functions, and NVR configuration settings.

    - The NVR software shall provide a monitoring screen which displays live camera video and simultaneously provides same-screen access to the following functions.

      - Screen mode, allowing set up and display of live video channels in various layouts or sequence configurations.

      - Hallway view mode for hallway view cameras.

      - Status displays

        - camera live status

          - model

          - connection status

          - IP address

          - compression

          - resolution

          - frame rate

          - quality

        - camera record status

          - bit rate

            - record bit rate

            - input bit rate

            - bit rate limits

          - configured video profile

          - input/record frames per second

      - Start/stop recording

      - Search recorded video

      - Play recorded video

      - Freeze live video

      - Audio on, off, and mute

      - Event monitoring

      - Digital zoom

      - Camera PTZ controls

      - Manual recording

      - Image (snapshot) capture

    - The NVR software shall provide setup screens which provide access to the following configuration settings and functions.

      - System

        - date and time

        - user passwords and permissions

        - system information

        - software upgrade

        - system logs

        - event logs

        - backup logs

      - Cameras

        - image preview of video

        - profile information

        - compression information

        - protocol information

        - model information

        - IP address

        - connection status

        - total amount of data received by channel

        - auto or manual search and register

        - select and setup ONVIF protocol operation

        - add, delete, and edit camera profile

        - adjust settings

          - camera name

          - resolution

          - frame rate

          - quality

          - bit rate

          - brightness

          - backlight

          - exposure

          - day/night

          - defog

          - focus

          - mirror and flip

          - motion detection

        - apply settings to groups of cameras

        - live streaming settings

      - Recording

        - setup recording schedule by day and time per channel

        - record settings per channel

          - all frames, key frames, or no record

          - data limit per channel

          - pre and post event recording times

          - include audio

        - set recording profile per channel

          - compression

          - resolution

          - frame rate

          - quality

        - HDD full capacity options – stop, overwrite

        - Event configuration

          - sensor operation

          - Camera events, including motion detection and video analytics

          - video loss detection

          - alarm output parameters

      - Storage media and devices

        - display working status, including current rate of recording, recording loss rate, and cumulative losses

        - storage use and capacity information

        - HDD temperature information

        - HDD alarm notifications

      - Monitor

        - select VGA or HDMI video output

        - configure display parameters

      - Text device

        - channel allocation

        - encoding type and delimiting characters

        - network port

        - event configuration

          - keyword entry

          - dollar value trigger

      - Network

        - address settings per physical port

        - bandwidth limits

        - software ports and protocol

        - multicast parameters

        - DDNS

        - UPnP

        - security

          - IP filtering

          - SSL encryption and certificates

          - 802.1x parameters

        - NTP server

        - SMTP e-mail settings

        - SNMP settings

        - live stream selection

        - DHCP server settings

        - Wi-Fi settings

        - Settings for tracking in VMS

      - Notifications

        - event types

        - intervals

        - recipients

      - Output relay settings

    - The NVR software shall provide Search and Playback functions as follows.

      - Search by

        - time

        - event

        - text

        - backup device

      - Playback

        - play forward and reverse at normal or accelerated speeds, frame by frame, and next record

        - go to first and go to last functions

        - color-coded timeline with play head scrub bar

        - set audio on or off

        - initiate backup

    - The NVR shall have a built in web server which supports browser-based configuration from a PC.

      - Acceptable browsers: Internet Explorer, Google Chrome, Apple Safari

      - The web viewer shall provide a monitoring screen which displays video from registered cameras and simultaneously provides same-screen access to the following functions.

        - display layout configuration

        - additional display functions as available with direct connection to the NVR server

      - The web viewer shall provide the same functionality as available when directly connecting to the NVR server with respect to the following.

        - system settings

        - backup and restoration of configuration settings to a file

        - camera configuration settings and functions

        - recording

        - storage media and devices

        - monitor

        - text device

        - network

        - events and notifications

        - output relay settings

        - search and playback

      - Minimum client requirements

        - Acceptable Operating Systems: Windows 7, 8, 10, Mac OS X (10.8 or above)

        - Acceptable browsers: Internet Explorer, Microsoft Edge, Google Chrome, Apple Safari

  - DETAILED SPECIFICATIONS

    - Display

      - Network Cameras

        - Inputs: Max. 4CH (4 PoE, RJ-45)

        - Resolution: CIF ~ 8MP

      - Live

        - Local Display: HDMI / VGA

        - Multi-Screen

          - Local: 1 / 2H / 2V / 3V / 4 / Auto sequence

          - Web: 1 / 4 / Auto sequence

        - Performance

        - Local: 8M (60fps), 5M (90fps), 3M (120fps), 2M(120fps), 720p(120fps), D1(120fps)

    - Performance

      - Operating System

        - Embedded: Linux

      - Recording

        - Compression: H.265, H.264, MJPEG, WiseStream (H.265, H.264)

        - Recording Bandwidth: Max. 50Mbps

        - Resolution: CIF ~ 8MP

        - Mode: Manual, Schedule (Continuous/Event), Event (Pre/Post), Emergency

        - Retention: Retention per channel (1~400 days)

        - Event Trigger: Alarm input (6), Video loss, Camera event (Sensor, MD, Video analytics, Defocus), G-Sensor (3 Axis)

        - Event Action: E-mail, Alarm out, Buzzer, Monitor out

      - Search & Playback

        - Playback Bandwidth: 32Mbps (4CH simultaneously)

        - User: Max. 4 users (Local 1, Remote 3)

        - Mode: Date & Time (Calendar), Event log list / Text search / Smart search

        - Simultaneous Playback: Max. 4CH (Local monitor, CMS)

        - Resolution: CIF ~ 8MP

        - Fish-eye Dewarping: Web / CMS

        - Playback Control: Fast/Slow Forward/Backward, Move one step up/down

      - Storage

        - Default Built-in: 0TB ~ 4TB

        - Internal HDD: 2 SATA (Front-swap), Max. 2TB (HDD, Non-RAID mode), Max. 4TB (SSD, Non-RAID mode)

        - RAID: N/A

      - Backup

        - File Backup: Exe (GUI), JPG / AVI (Excluding GPS information) (Network)

        - Function: Multi channel (Upto 4CH) Play, Date-time / Title / GPS display

        - Type: Auto (Wifi), Manual (HDD / SSD)

        - Wifi Backup Performance: Max. 50Mbps

      - Sensor

        - Input / Output: 6 / 4

      - Audio

        - Input / Compression: 4CH (Network) / G.711, G.726, AAC (16 / 48KHz)

        - Audio Communication: 2-way

    - Network

      - Interface: RJ-45 (Gigabit ethernet x 1)

      - Protocol Support: TCP/IP, UDP/IP, RTP (UDP), RTP (TCP), RTSP, NTP, HTTP, DHCP (Server, Client), PPPoE, SMTP, ICMP, IGMP, ARP, DNS, DDNS, uPnP, HTTPS, SNMP, ONVIF (Profile-S), SUNAPI(Server, Client)

      - DDNS: Hanwha DDNS

      - Transmission Bandwidth: Wired (LAN) Max. 80Mbps

      - Max. Remote Users: Search 3 / Live unicast 10 / Live multicast 20

      - IP: IPv4

      - Security: IP address filtering, User access log, 802.1x, Encryption

      - Wireless

        - WIFI: Internal (802.11 n (2.4G) / ac (5G), 1T1R

        - 3G/LTE: Support external 3G / LTE router (Ethernet)

      - Language: English, French, German, Italian, Spanish, Russian, Turkish, Polish, Dutch, Swedish, Czech, Portuguese, Danish, Rumanian, Serbian, Croatian, Hungarian, Greek, Norwegian, Finnish, Korean, Chinese, Japanese, Thai

      - OS: Window 7, 8, 10, Mac OS X (10.8 or above)

      - Web Browser: MS IE, Google Chrome, Mac Safari

      - Viewer Software

        - Type: SSM Transportation, WebViewer, Wisenet Mobile Viewer

        - CMS Support: Support SDK / CGI (SUNAPI) for integration to 3'rd party / VMS

    - Indicator / Interface

      - Front

        - Indicator: LED (Status indicator) 3EA: Power 1, Alarm 1, Record 1

        - Power Switch / Audio: N/A

        - HDMI / VGA: 2ea (Support Live screen up to 16 div. mode, Clone) / HDMI Up to 4K (3840 x 2160) / VGA Max. 1080p

        - USB / GPS: 3ea (Front x 2, Rear x 1)

        - HDD Key Lock: 1ea

      - Connections

        - Ethernet: Viewer: 1ea (100Mbps, RJ-45), PoE Camera input: 4ea (100Mbps, RJ-45)

        - Control I/O: RJ45 1ea (External control box), Status LED, G-Sensor (3 Axis), Emergency recording button, Power Switch, Audio out

      - Alarm: (1) In (6ea) (2) Out (4ea)

      - Serial / WiFi: 1ea RS-232C / 1ea (RP-SMA, F)

      - Reset / Power Cord: Switch 1ea / 6pin connector 1ea

    - System

      - Power Management

        - Shutdown Delay: Max. 72Hrs (User selectable), Support CGI shutdown

        - Startup Delay: 0sec (Default) ~ 10min (User selectable)

      - Log

        - Log List: Max. 20,000 (System log, Event log each)

    - General

      - Electrical

        - Input Voltage / Current: 9 ~ 36V DC (Battery power detection & Low power limit setup)

        - Power Consumption: Max. 83W

        - PoE Budget: Max. 32W

      - Environmental

          - Operating Temperature -25°C ~ +55°C (-13°F ~ +131°F)

          - Humidity: 20% ~ 85% RH

      - Mechanical

        - Color / Material: Black / Steel

        - Dimensions (W x H x D): 210 x 80 x 250mm (8.27" x 3.15" x 9.84")

        - Weight: 3.4Kg (7.5 lb without HDD)

    - Standard Approval

      - General: CE, FCC, UL

      - Special: EN-50155 (Rail shock / Vib), EN-50121-4 (Railway EMC)

    - Control Box

      - Indicator (6 LED): Power, Alarm, Recording, GPS, RAID Status, HDD(SSD) Error

      - Emergency Button: 1ea

      - Audio: Out 1ea (RCA, Line)

      - Power Switch: 1ea

      - Main I/O: 1ea (DB9)

      - Color: Black

      - Material: Aluminum

      - Dimensions (W x H x D): Approx. 118 x 29.2 x 70mm (4.64" x 1.15" x 2.75")

      - Weight: 200g (0.4lb)

END OF SECTION

10