Hanwha Vision is a leading supplier of advanced video surveillance solutions for IP- video, analog and hybrid systems. Building on the company's history of innovation, Hanwha Vision is dedicated to providing systems solutions with the highest levels of performance, reliability and cost-efficiency. Hanwha Vision is committed to the continued development of innovative systems products for professional security applications.

For additional information, visit https://hanwhavision.com

WISENET WAVE Network Video Recorder

DIVISION 28 – ELECTRONIC SAFETY AND SECURITY

Notes to Specifier:

- Where several alternative parameters or specifications exist, or where, the specifier has the option of inserting text, such choices are presented in <bold text>.

- Explanatory notes and comments are presented in colored text.

Important: See further notes on the following page.

Important Note to Security Systems Specifiers

CSI MasterFormat 2016 incorporates numerous significant changes affecting electronic safety and security. This document is written to provide flexibility in using either format, although adoption of MasterFormat 2016 is encouraged. The following is a guide to the MasterFormat numbers relevant to the product referenced in this specification.

Primary Specification Area:

MasterFormat 2014:

28 23 19	Electronic Surveillance

28 23 00	Video Surveillance

28 23 19	Digital Video Recorders and Analog Recording Devices

MasterFormat 2016:

28 05 00	Common Work Results

28 05 xx	Storage Appliances for Electronic Safety and Security

28 05 xx.xx	Network Video Recorders

Related Requirements:

MasterFormat 2014:

| 27 20 00 | Data Communications |
| --- | --- |
| 28 23 13 | Video Surveillance Control and Management Systems |
| 28 23 16 | Video Surveillance Monitoring and Supervisory Interfaces |
| 28 23 19 | Video Surveillance Remote Devices and Sensors |
| 28 23 23 | Video Surveillance Systems Infrastructure |

MasterFormat 2016

- 15 01.xx	Video Surveillance Communications Conductors and Cables 27 20 00	Data Communications

- 05 xx.xx	PoE Power Sources for Electronic Safety and Security 28 05 xx	Cyber Requirements for Electronic Safety and Security

28 05 xx	Safety and Security Network Communications Equipment 28 2x xx	IP Cameras

28 2x 00	Video Management System

WISENET WAVE NETWORK VIDEO RECORDER

PART  1	GENERAL

  - SUMMARY

    - Section includes a WISENET WAVE network video recorder.

    - Product - A WISENET WAVE network video recorder, ONVIF compliant, with support for H.265, H.264, and MJPEG compression and recording bandwidth of 250 Mbps.

    - Related Requirements

Refer to MasterFormat notes at the beginning of this document to select requirements specific to the MasterFormat version being used in the specification.

  - REFERENCES

    - Abbreviations

      - ARP – Address Resolution Protocol

      - DHCP - Dynamic Host Configuration Protocol

      - DNR – Digital Noise Reduction

      - DDNS – Dynamic Domain Name Server

      - fps - frames per second

      - GUI – Graphical User Interface

      - HDD – Hard Disk Drive

      - HTTP - Hypertext Transfer Protocol

      - ICMP – Internet Control Message Protocol

      - IGMP - Internet Group Management Protocol

      - IP - Internet Protocol

      - iSCSI – Internet Small Computer System Interface

      - JBOD – Just a Bunch of Disks

      - JPEG - Joint Photographic Experts Group

      - MJPEG - Motion JPEG

      - MP - Megapixel

      - MPEG - Moving Pictures Experts Group

      - NAS – Network Attached Storage

      - NTP - Network Time Protocol

      - POS – Point of Sale

      - PPPoE – Pont to Point Protocol over Ethernet

      - RAID – Redundant Array of Independent Disks (Drives)

      - RTP - Real-Time Transport Protocol

      - RTCP – Real-Time Control Protocol

      - RTSP - Real-Time Streaming Protocol

      - SMTP - Simple Mail Transfer Protocol

      - SNMP – Simple Network Management Protocol

      - SSL – Secure Sockets Layer

      - TCP - Transmission Control Protocol

      - UDP - User Datagram Protocol

      - UPnP – Universal Plug and Play

      - VMS - Video Management System

      - PoS – Point of Sales

      - VA – Video Analytics

      - PnP – Plug and Play

      - ARB – Auto Recovery Backup

    - Reference Standards

      - Network - IEEE

        - 802.3 Ethernet Standards

        - 802.1x Port-based Network Access Control

      - Video

        - ISO / IEC 23008-2:2013, MPEG-H Part2 (ITU H.265, HEVC)

        - ISO / IEC 14496–10, MPEG-4 Part 10 (ITU H.264)

        - ISO / IEC 10918 – JPEG

        - ONVIF – Profiles S

      - Emissions

        - FCC 47 CFR Part 15 Subpart B Class A

        - EN 55032:2015/A11:2020, Class A

      - Immunity

        - EN 50130-4:2011/A1:2014

        - EN 61000-3-2:2014

        - EN 61000-3-3:2013

      - Safety

        - UL Listing, cUL, CB

    - Definitions

      - JBOD - a collection of hard disks that have not been configured to act as a redundant array of independent disks (RAID) array.

      - GOV (Group of Video object planes) - A set of video frames for H.264 and H.265 compression, indicating a collection of frames from the initial I-Frame (key frame) to the next I-Frame. GOV consists of 2 kinds of frames: I-Frame and P-Frame.

      - WiseStream – Smart Codec that controls quantization parameter in H.265 and H.264 to efficiently manage bitrate of the video stream and reduce the storage required.

      - Dynamic GOV – Dynamic assignment of GOV length based on the complexity of the scene to efficiently manage bitrate of the video stream and reduce the storage required.

      - Dynamic fps - Dynamic assignment of frames per second based on the complexity of the scene to efficiently manage bitrate of the video stream and reduce the storage required.

      - ARB (Auto Recovery Backup) – Automatic backup mechanism that enables Wisenet cameras to store videos on to SD card during failures and stream it to the storage device after recovery.

      - Dynamic Event – New event function of cameras is available without software update.

  - SUBMITTALS

    - Product Data

      - Manufacturer’s printed or electronic data sheets

      - Manufacturer’s installation and operation manuals

      - Warranty documentation

  - QUALIFICATIONS

    - Manufacturer shall have a minimum of five years’ experience in producing IP video equipment.

    - Installers shall be trained and authorized by the Manufacturer to install, integrate, test, and commission the system.

  - DELIVERY, STORAGE AND HANDLING

    - Deliver the product in the manufacturer’s original, unopened, undamaged container with identification labels intact.

    - Store the product in a temperature environment specified in section 2.04 Detailed Specification, protected from mechanical and environmental conditions as designated by the manufacturer.

  - WARRANTY, LICENSING AND SUPPORT

    - Manufacturer shall provide a limited 5-year warranty for the product to be free of defects in material and workmanship.

END OF SECTION

PART  2	PRODUCTS

  - EQUIPMENT

    - Manufacturer:	Hanwha Vision America

https://hanwhavision.com

    - Model	WRN-2110B1

    - Alternates:	WRN-2110SB1, WRN-2010S

  - GENERAL DESCRIPTION

    - The 16 channel WISENET WAVE Network Video Recorder (“NVR”) shall record video and audio from up to 16 network video cameras to a hard disk and enable playback of video and audio.

    - The NVR will be pre-configured with Wisenet WAVE VMS and preloaded with four (4) Professional licenses to ensure quick and easy development with minimum setup time.

    - The NVR shall provide a remote monitoring environment for video and audio over the network using a remote computer.

    - NVR will use a SQLite – a free database technology – included in the installation package

    - The NVR shall have the following further general properties:

      - Camera search and discovery: The NVR shall have the capability to search the network for connected compatible cameras via ONVIF Profile S or Hanwha Vision’s native driver.

        - Cameras are searched or discovered, each camera will be automatically registered and current camera information (fps, days of recording) displayed.

        - When cameras are searched or discovered, the NVR shall provide the ability to selectively register as many as cameras can be found.

      - The NVR shall support WiseStream, WiseStream II and Dynamic GOV, a smart codec used by Wisenet IP cameras.

      - The NVR shall support dual monitor out.

      - The NVR shall support server backup if multiple servers are in the hive for failover for redundancy.

      - Recording and playback functions:

        - Support recording from 352 x 288 (CIF) up to 4000 X 3000 (12 MP) per channel

        - 250 Mbps network camera recording throughput

        - Simultaneous playback capability up to 16 video channels

        - H.265, H.264, and MJPEG compression support

        - NVR shall record and stream AAC, PCM, g726, and MPS audio

        - View status of internal connected storage hardware

        - Set recording schedules

        - Set up triggered recording based on: 1.) sensor (input) detection

2.) camera event, analytics based in Wisenet Cameras 3.) Motion Detection

4.) video loss detection

        - Available recording settings by channel for standard and event-based recording types: 1.) compression type

2.) resolution

3.) images per second 4.) quality

5.) data transfer limit

6.) pre-event and post-event record duration 7.) I-frame and full frame recording

        - Available actions upon reaching full HDD storage capacity: 1.) stop recording

2.) overwrite

        - Search recorded data by time, event trigger, motion alarms, events

      - Storage

        - 4 SATA, up to 10TB HDDs, total maximum of 40TB.

        - USB connection for memory/storage device for video clip backup and settings export

      - Live view:

        - Live, remote monitoring using Wisenet WAVE supplied viewer

        - Live Streams: H.265, H.264, MJPEG

        - Offline Media: AVI MKV MP4 MOV TS M2TS MPEG MPG FLV WMV 3GP JPG PNG GIF BMP TIFF

        - Configure and exercise functions for connected PTZ cameras, including functionality with compatible USB joystick

        - Capture and save snapshot images

        - Record current video in AVI format

      - Remote access:

        - Multicast or unicast

1.) Simultaneous unicast access is unlimited 2.) Simultaneous multicast access is unlimited

        - Mobile device:

1.) Supported platforms a.) Android

b.) IOS

2.) Supported remote users:

a.) Unlimited amount either live or playback

        - Dynamic DNS (DDNS) support

      - DisplayPort (DP) and High Definition (HDMI) local monitor outputs live viewing, playback, & backup functions

      - ONVIF Profile S compliance

      - Alarm connections: 4 Alarm in, 2 Alarm out

  - DETAILED SPECIFICATIONS

    - System

      - Processor:	Intel Atom x5-E3940 1.8GHz

      - Memory:	8 GB DDR4

      - Operating Systems:	Linux Ubuntu 22.04LTS

      - USB Ports:	USB 2.0, 3 EA (Front x1, Rear x2)

      - Video Output:	1x HDMI, 1x DP dual monitor

      - Other ports:	3.5mm audio in/out,

      - Keyboard:	none

      - Mouse:	Included

      - Sliding Rail Kit:	none

      - RAID Support:	none

    - Video

      - Compression:	H.265, H.264, MJPEG

    - Recording

      - Channel capability:	Up to 16 channels

      - Bit Rate:	Up to 250 Mbps

      - Resolution range:	352 x 288 - 4000 X 3000

    - Events and Response Actions

      - Triggers:

        - Motion

        - video loss

        - event defined by camera

      - Response Actions:

        - Record

        - E-mail

        - activate PTZ preset

        - Event Trigger program

        - Sound output

    - Playback

      - Number of simultaneous channels:	Up to 16 channels

      - Bandwidth:	250 Mbps

    - OS Drive

      - OS Drive Bays	1 – 32GB eMMC SSD internally Mounted

    - Storage

      - Internal

        - Number of HDD’s bays:	1 – 4 Bays

        - Capacity per HDD:	1 – 10 TB

      - External

        - Acceptable types:

1.) USB HDD/Flash drive for backup of video clips, firmware update, settings backup/restore, log export

    - Network

      - Connectivity:

        - LAN/WAN 1000 Base-T Ethernet, 2 x RJ-45 connectors

      - Protocols supported:

        - Transmission Control Protocol (TCP), Internet Protocol (IP) v4 and v6, User Datagram Protocol (UDP)

        - Configuration: Dynamic Host Configuration Protocol (DHCP)

        - Web services: Hypertext Transfer Protocol (HTTP), Secure HTTP (HTTPS)

        - Network services: Address Resolution Protocol (ARP), Domain Name System (DNS), Internet Control Message Protocol (ICMP), Network Time Protocol (NTP), Simple Network Management Protocol (SNMP v1/2c/3 – MIB-2), Universal Plug and Play (UPnP)

        - Media: Real-Time Transport Protocol (RTP), Real-Time Control Protocol, Real-Time Streaming Protocol (RTSP)

        - Multicast: Internet Group Management Protocol (IGMP)

        - Notifications: Simple Mail Transfer Protocol (SMTP)

        - Remote Access: Point-to-Point Protocol over Ethernet (PPPoE)

      - DDNS – The NVR shall support DDNS services offered by publicly available service offerings.

      - Security features:

        - user password protection with group restrictions

        - IP address filtering - list of allowed or blocked IP addresses

        - HTTPS(SSL) login authentication

        - User access log

        - 802.1x authentication

        - Restriction of all network access/web viewer access

      - Discovery - Manufacturer shall offer a discovery program to identify all devices of his manufacture on the network, as well as ONVIF Profile S conformant devices.

    - Alarm/sensor interface:

      - Input (4)

      - Output (2)

        - Alarm out 1: NO or NC, selectable

        - Alarm out 2: NO

    - Audio

      - Direction:	Bi-directional

      - Compression:	AAC (16/48KHz), G.711 u-law, G.726 selectable

      - Output:	Line level (RCA)

    - Environment

      - Operating Temperature	0°C to +40°C(32℉ to 104℉)

      - Operating Humidity		20% ~ 85% RH

    - Electrical

      - Power input	100 ~ 240 VAC ±10%, 50/60 Hz

      - Power Consumption	Max 80W

    - Mechanical And Environmental

      - Color / Material		Black / Metal

      - Dimensions (W x H x D)	440 x 89.8 x 428.4 mm (17.32” x 3.54” x 16.87”)

      - Weight			5.47 kg (12.06 lb, HDD not included)

END OF SECTION

PART  3	EXECUTION

  - INSTALLERS

    - Contractor personnel shall comply with all applicable state and local licensing requirements.

  - PREPARATION

    - The network design and configuration shall be verified for compatibility and performance with the camera(s).

    - Network configuration shall be tested and qualified by the Contractor prior to camera installation.

    - All equipment shall be tested and configured in accordance with instructions provided by the manufacturer prior to installation

    - All firmware found in products shall be the latest and most up-to-date provided by the manufacturer, or of a version as specified by the provider of the Video Management Application (VMA).

    - All equipment requiring users to log on using a password shall be configured with user/site-specific password/passwords. No system/product default passwords shall be allowed.

  - INSTALLATION

    - The Contractor shall carefully follow instructions in documentation provided by the manufacturer to ensure all steps have been taken to provide a reliable, easy-to-operate system.

    - Before permanent installation of the system, the Contractor shall test the system in conditions simulating the final installed environment.

  - STORAGE

    - The hardware shall be stored in an environment where temperature and humidity are in the range specified by the Manufacturer.

END OF SECTION