Hanwha Techwin is a leading supplier of advanced video surveillance solutions for IP-video, analog and hybrid systems. Building on the company's history of innovation, Hanwha Techwin is dedicated to providing systems solutions with the highest levels of performance, reliability and cost-efficiency. Hanwha Techwin is committed to the continued development of innovative systems products for professional security applications.

For additional information, visit http://security.hanwhatechwin.com/

# VIDEO MANAGEMENT SOFTWARE

# DIVISION 28 – ELECTRONIC SAFETY AND SECURITY

Notes to Specifier:

1.  Where several alternative parameters or specifications exist, or where, the specifier has the option of inserting text, such choices are presented in <bold text>.

2.  Explanatory notes and comments are presented in colored text.

Important:  See further notes on the following page.

# Important Note to Security Systems Specifiers

# CSI MasterFormat 2016 incorporates numerous significant changes affecting electronic safety and security. This document is written to provide flexibility in using either format, although adoption of MasterFormat 2016 is encouraged. The following is a guide to the MasterFormat numbers relevant to the product referenced in this specification.

# Primary Specification Area:

# MasterFormat 2014:

28 20 00 	Electronic Surveillance

28 23 00 	Video Surveillance

28 23 29	Video Surveillance Remote Devices and Sensors

# MasterFormat 2016:

# 28 20 00	Video Surveillance

# 28 2x xx	Surveillance Cameras

# 28 2x xx	IP Cameras

# Related Requirements:

# MasterFormat 2014:

# 27 20 00 Data Communications

# 28 23 13 Video Surveillance Control and Management Systems

# 28 23 16 Video Surveillance Monitoring and Supervisory Interfaces

# 28 23 19 Digital Video Recorders and Analog Recording Devices

# 28 23 23 Video Surveillance Systems Infrastructure

# MasterFormat 2016

# 27 15 01.xx	Video Surveillance Communications Conductors and Cables

# 27 20 00 	Data Communications

# 28 05 xx.xx	PoE Power Sources for Electronic Safety and Security

# 28 05 xx	Storage Appliances for Electronic Safety and Security

# 28 05 xx.xx	Network Video Recorders

# 28 05 xx	Cyber Requirements for Electronic Safety and Security

# 28 05 xx	Safety and Security Network Communications Equipment

28 2x 00	Video Management System

Table of Contents

PART  1	GENERAL	5

1.01	SUMMARY	5

1.02	REFERENCES	5

1.03	SUBMITTALS	7

1.04	QUALIFICATIONS	7

1.05	WARRANTY, LICENSING AND SUPPORT	7

PART  2	PRODUCTS	8

2.01	EQUIPMENT	8

2.02	GENERAL DESCRIPTION	8

2.03	COMPONENTS	8

A.	Core Server and Clients	8

1.	Core Server	8

2.	Client Software	9

B.	Optional Modules	10

1.	Transaction Server	10

2.	Screen Capture	10

3.	Virtual Matrix	10

4.	Business Intelligence	10

C.	Installation	10

D.	License	11

E.	Time Synchronization.	11

F.	System Setup	11

G.	Events, Alarms and Device Status	11

H.	Text Device	13

I.	Third Party Integration	13

J.	Monitoring Clients	15

K.	Active Directory	18

L.	Failover	18

M.	Federation	19

N.	Schedule Backup	20

O.	Auto Recovery Backup	21

P.	Export	21

Q.	Google Map and Map Layout	21

1.	Google Map	21

2.	Map Layout	22

R.	Video Profile Setting	22

S.	Dashboard	23

T.	Supported Devices	23

2.04	DETAILED SPECIFICATIONS	23

A.	Function	23

B.	Configuration	24

PART  3	EXECUTION	26

3.01	INSTALLERS	26

3.02	PREPARATION	26

3.03	INSTALLATION	26

VIDEO MANAGEMENT SOFTWARE

# GENERAL

## SUMMARY

    - Section includes video management software.

    - Product – Enterprise level video management software that can manage network and analog cameras, network video recorders, digital video recorders and other devices specified in this document.

## Related Requirements

Refer to MasterFormat notes at the beginning of this document to select requirements specific to the MasterFormat version being used in the specification.

## REFERENCES

    - Abbreviations

      - AGC - Automatic Gain Control

      - ANPR – Automatic Number Plate Recognition

      - ARP – Address Resolution Protocol

      - AWB  - Automatic White Balance

      - BLC – Back light compression

      - CBR – Constant Bit Rate

      - CVBS – Color, Video, Blanking, Sync

      - DHCP - Dynamic Host Configuration Protocol

      - DNR – Digital Noise Reduction

      - DNS - Domain Name Server

      - DDNS – Dynamic Domain Name Server

      - DSCP – Differentiated Services Code Point

      - fps - frames per second

      - FTP - File Transfer Protocol

      - GOV – Group of Video

      - GUI – Graphical User Interface

      - HD – High Definition

      - HTTP - Hypertext Transfer Protocol

      - ICMP – Internet Control Message Protocol

      - IGMP - Internet Group Management Protocol

      - IP - Internet Protocol

      - JPEG - Joint Photographic Experts Group

      - MJPEG - Motion JPEG

      - MP - Megapixel

      - MPEG - Moving Pictures Experts Group

      - NAS – Network Attached Storage

      - NTP - Network Time Protocol

      - PIM-SM - Protocol Independent Multicast-Sparse Mode

      - PoE - Power over Ethernet

      - PPPoE – Point to Point Protocol over Ethernet

      - RTP - Real-Time Transport Protocol

      - RTCP – Real-Time Control Protocol

      - RTSP - Real-Time Streaming Protocol

      - SDK – Software Development Kit

      - SMTP - Simple Mail Transfer Protocol

      - SNMP – Simple Network Management Protocol

      - SSL – Secure Sockets Layer

      - TCP - Transmission Control Protocol

      - UDP - User Datagram Protocol

      - UPnP – Universal Plug and Play

      - VBR – Variable Bit Rate

      - VMS - Video Management System

      - WDR – Wide Dynamic Range

      - LDC – Lens Distortion Correction

      - OPC – Open Platform Communications or OLE for Process Control

      - OLE – Object Linking and Embedding for Process Control

      - LDAP – Lightweight Directory Access Protocol

      - PoS – Point of Sales

    - Reference Standards

      - Network - IEEE

        - 802.3 Ethernet Standards

        - 802.1x  Port-based Network Access Control

      - Video

        - ISO / IEC 23008-2:2013, MPEG-H Part2 (ITU H.265, HEVC)

        - ISO / IEC 14496–10, MPEG-4 Part 10 ( ITU H.264)

        - ISO / IEC 10918 – JPEG

        - ONVIF – Profiles S and G

    - Definitions

#### GOV (Group of Video object planes) – A set of video frames for H.264 and H.265 compression, indicating a collection of frames from the initial I-Frame (key frame) to the next I-Frame. GOV consists of two kinds of frames in video surveillance setup: I-Frame and P-Frame.

#### Dynamic GOV – Dynamic assignment of GOV length based on the complexity of the scene to efficiently manage bitrate of the video stream and reduce the storage required.

#### Multi-exposure wide dynamic range – Operation which automatically adjusts shutter speed to provide a wide range between dark and light areas visible at the same time, preventing backlighting issues. Long exposure is used for dark areas and a short exposure is used in bright areas.

#### Dynamic FPS – Dynamic assignment of FPS (frames per seconds) based on the movement of object(s) in the scene to efficiently manage bitrate of the video stream and reduce the storage required.

#### Smart Codec – Smart Codec that controls quantization parameter and dynamic FPS in H.265 and H.264 to efficiently manage bitrate of the video stream and reduce the storage required.

#### WiseStream – Technology that controls quantization parameter, FPS, and GOV length in H.265 and H.264 to efficiently manage bitrate of the video stream and reduce the storage required.

#### WiseStream III – 3rd generation of WiseStream that intelligently separates the objects from the background, and keeps the compression ratio low for classifying humans and vehicles.

#### WiseNR  II –  2nd generation of Noise Reduction that intelligently suppresses the image noise and blurring to get clearer image when there are movements of detected objects such as humans or vehicles.

#### AI Prefer shutter – Technology that intelligently controls the shutter speed to obtain clearer image and suppresses image blurring when there are movements of detected objects such as humans or vehicles.

#### LDC – Lens Distortion Correction corrects image distortion at the edge of a wide angle lens. Since Fill mode maintains the screen’s top and bottom angular fields of view, the left and right end of the video could be cropped. Since Stretch mode maintains the screen’s top/bottom/left/right angular fields of view, none of the areas in the original video recording is lost, but the aspect ratio of the video is not maintained.

#### DORI (Detect, Observe, Recognize, Identify) – A standard system (EN-62676-4) for defining the ability of a camera to distinguish persons or objects within a covered area.

#### Detect: 25PPM / 8PPF

#### Observe: 63PPM / 19PPF

#### Recognize: 125PPM / 38PPF

#### Identify: 250PPM / 76PPF

      - SSM Domain: The overall local environment that operates the Wisenet SSM including a core server with devices registered to it, and multiple core servers clustered together.

      - Clustering: Synchronization of multiple core servers. Synchronization includes device information, user information, and events. Moreover, among clustered core servers, failover shall be triggered when one or more core servers fail.

## SUBMITTALS

    - Product Data

      - Manufacturer’s printed or electronic data sheets

      - Manufacturer’s installation and operation manuals

      - Warranty documentation

## QUALIFICATIONS

    - Manufacturer shall have a minimum of five years’ experience in producing IP video equipment and other video surveillance solutions.

    - Installers shall be trained and authorized by the Manufacturer to install, integrate, test, and commission the system.

## WARRANTY, LICENSING AND SUPPORT

    - Manufacturer shall provide a limited 3 year warranty for the product to be free of defects in material and workmanship.

    - Manufacturer shall provide embedded camera video analytics free of license charges.

END OF SECTION

# PRODUCTS

## EQUIPMENT

    - Manufacturer: 	Hanwha Techwin

www.hanwha-security.com

    - Model		SSM v2.10

    - Alternates: 		None

## GENERAL DESCRIPTION

    - The software shall be designed for commercial and industrial use and installed in a single PC(include server/workstation) as a stand-alone or in multiple sites providing a fully distributed solution with applications for remote users.

    - The technology involved in development of this software shall be standard and proven and the provider shall be responsible for rigorous testing prior to the release.

    - The provider shall offer training on installation, design, functions, specification or any other aspects of the software to the users. In addition, there shall be technical support both online and offline and it shall include design of systems, configuration of software, and review of devices in a system on compatibility.

    - The provider shall offer software tools to help users design the system. The tools shall be freely available from the provider’s web site and shall include the following.

      - A software to provide product information and to calculate bandwidth and storage capacity

      - A software to search for and to configure devices on the same network

## COMPONENTS

### Core Server and Client: The software shall consist of the following two parts; core server and client software.

#### Core Server

        - Device Registration

          - The manufacturer’s devices including network cameras, network video recorders, and decoders shall be registered to core servers by its proprietary protocols shared among the manufacturer’s network products.

          - Analog products shall also be registered either through digital video recorder and encoders.

          - For devices that have not adopted the manufacturer’s protocols, ONVIF shall be used for registrations.

          - Regardless of whether it is ONVIF or the manufacturer’s protocol, the software shall be able to find and register devices in network. For devices that have not been discovered, it shall allow manual registration.

        - Recording

          - Once devices are registered, the software shall select profiles, allocate storage devices (HDD or SSD installed in a PC), and configure recording automatically in an optimized way to minimize time and effort required for configuration. If desired by users, manual configuration of recording shall be allowed.

          - The software shall provide advanced search features, high resolution, CUDA decoding, ANPR, and transcoding for mobile applications.

          - If PoS devices are connected, transaction data shall be recorded along with video for users to search later.

          - Up to 128 channels can be registered if cameras are directly connected to the server and up to 3000 channels if cameras are connected through NVRs or DVRs.

          - Storage options shall include the following.

            - Inbuilt HDD (or SSD) on the server.

            - Direct attached storage boxes attached to servers.

            - Network attached storage (NAS)

            - Storage area network (iSCSI)

            - The software shall provide a status of available recording capacity.

        - Server Clustering

          - Multiple core servers can be clustered together to provide high reliability. Device information and event data shall be synchronized among core servers in the cluster and failover shall be triggered when one or more core servers fail.

        - Failover

          - Core servers can be protected to minimize data loss by activating spares even if the recording is interrupted by system failure, without adopting dedicated failover system.

        - Dashboard

          - Core servers shall provide dashboard to display system status. The dashboard shall be web based allowing users to access from remote places using commonly available browsers and shall be easy and intuitive to monitor the system.

        - User Management

          - Core servers shall keep database of users with configurable user permissions and shall support lightweight directory access protocol (LDAP) to add users to the system.

        - Federation

          - On top of clustering, the software shall support federation. Federation feature shall provide hierarchical management of multiple systems.

        - Event Management

          - The software shall receive events from registered devices including cameras, recorders, alarms, sensors and etc., and provide automatic event handling features. This event handling features shall be rule based and configurable by users.

#### Client Software

        - Live Monitoring

          - The client software shall provide live monitoring of video from registered devices.

          - The software shall provide automatic adjustment of video profiles based on screen layouts to prevent the case where PC’s decoding capability is not sufficient to play all the videos smoothly.

          - Tab based user interface and minimized clicks to playback shall provide simple and intuitive experience to operators and this shall lead to quick response should an incident happen.

          - Moreover, sequence mode and event spot monitoring shall be available for efficient display of multiple channels.

          - The client software can broadcast pre-recorded voice through the connected external speakers.

          - The client software can perform two-way communication with a microphone and a speaker.

        - Playback

          - Features for advanced smart search including motion based search, text data search, AI attribute search and video summary shall be available.

#### The software can do playback up to 128 channels simultaneously.

#### The software shall allow window division supported by compatible Windows OS when video is played.

        - Video Export

          - The client software shall provide video export in two formats. First is AVI which is commonly used video format and the second is SEC which is the manufacturer’s proprietary format with password protection and forgery detection. A player shall automatically be given when video is exported in SEC format without the need to download and install from the manufacturer’s homepage.

        - Mobile Clients

          - Operators shall be able to receive live video on their smart phone using the app freely downloadable from App Store or Play store and shall be available on iOS and Android.

          - In addition, it shall enable users to search videos, receive events, and control PTZ cameras.

        - Control

#### It shall provide graphical user interface that allows users to manage and control system using PC mouse, keyboard, digital keyboard, and controller. Control shall include video controls such as pause, play, skip forward, skip backward, and camera sequence.

        - Device Setup

          - The client software shall provide device setup feature to allow operators to configure devices in the system without having to access it from another program. This shall minimize time and effort for configuration.

### Optional Modules: The following modules shall be added optionally.

#### Transaction Server: Transaction Server shall be an optional module of SSM allowing the integration of supported third party systems.

#### Virtual Matrix:

        - Virtual Matrix shall be an optional module to manage and control video wall.

        - It shall provide real-time monitoring of video and event, and support tile/monitor/wall spots and merge.

### Installation

      - Installation shall be done within five steps and shall take approximately 10 mins to reduce installation efforts.

      - During installation, administrator’s password shall be set to prevent unauthorized access using default password. Moreover, setting administrator’s password shall be done in the early stage of installation to reduce time required for installer to monitor the screen, so that he/she can use reduced time to install the software on other work station.

### License

      - The provider shall offer license activation program and the activation shall be done both on-line and off-line with activation server available worldwide.

      - The provider shall allow transfer of license to another PC without cloning of license.

#### It shall be able to connect network cameras manufactured by Techwin and other vendors through Techwin’s protocols or ONVIF. The number of cameras that can be connected to the software shall depend on the license.

      - License Policies are following.

        - Viewer License

        - Recording License

        - Video Decoder License

        - Trial Period

          - The software shall provide 45 days of trial period with full access of all features.

### Time Synchronization: The software shall provide options for time synchronizations as following.

      - Synchronize with network time server

      - Synchronize with PC

      - Synchronize with registered devices

### System Setup

      - It shall provide system setup with limited operation options.

      - It shall allow users to set up permission for operation options.

### Events, Alarms and Device Status

      - The software shall be able to receive events from connected devices and programs. The receivable events shall include system events, recording events, fail-over events, camera events, sensor events, alarm outs, events from PoS or text devices, and events from access control systems and intrusion detections.

      - The list of received events shall be displayed in order and indexed to be searched on demand. The different types of events shall be colored differently and the coloring shall be customizable. The software shall provide at least five levels of events, alarm, and user prioritization.

      - The software shall provide a graphical user interface to select which events to handle and shall provide a customizable post-event actions and event handling rules.

      - The software shall be able to receive alarms of different types from equipment to start a recording. These alarms can be motion detection, video loss, and unified picture and trigger input. The software shall allow users to select video profiles to be used for alarm-recording. Moreover, both pre-alarm and post-alarm periods shall be configured in duration.

      - The software shall detect signal loss and have the capability to alert the systems administrator.

      - The event handling rule shall include events in the following list as its event input.

        - Fail-over Events

          - No Standby Client: No standby client received at the time of fail-over request.

          - Standby Client Broken: The standby client is malfunctioning at the time of fail-over request.

          - Fail-over Successful: The fail-over is established successfully.

          - Fail-over Failed: The fail-over was not successful.

          - Fail-back Failed: The fail-back failed.

        - Device Event

          - Motion Detection: An event generated from a device’s motion detection feature.

          - Video Loss: An event generated when the recording is interrupted.

          - Video Analysis: An event generated from a device’s video analysis.

          - Passing: An event generated when an object passes through a line specified by the user.

          - Entering: An event generated when an object enters the area specified by the user.

          - Exiting: An event generated when an object exits the area specified by the user.

          - Appearing/Disappearing: An event generated when an object appears and disappears in a scene.

          - Tampering: An event generated when there is a sudden change in a scene. Sudden changes include moving a camera or spaying on the lens, or other actions hindering the video monitoring.

          - Tracking: An event generated when tacking of an object is started.

          - Face Detection: An event generated when a face is detected in an area specified by the user.

          - Audio Detection: An event generated when a device detects sound.

          - Defocused: An event generated when a camera goes out of focus.

        - Customization and events from technical partners.

          - The software shall be able to handle events from application developed by Techwin’s technical partners.

          - The provider shall be able to add events to event handling rules based on requests from users.

      - The event handling rule shall include events in the following list as its event output.

        - Event Output

          - Instant Viewer: Generates a pop up with event information and video. The video can be either live or playback.

          - Thumbnails: Displays snapshots taken at the time of occurrence of events.

          - Preset: Runs presets defined in the camera.

          - Auto Broadcast: Runs auto broadcast with a file specified by the user.

          - Tour: Runs tour feature of the camera.

          - Swing/Auto Pan: Runs swing/auto pan feature of the camera.

          - Group/Scan: Runs group/scan feature of the camera.

          - Recording Start: Starts recording the video streamed from the selected device.

          - Recording Stop: Stops recording the video streamed from the selected device.

          - Sound: Generates a sound alarm.

          - Email: Sends a notification email.

          - Client plays sound: Creates a play sound for event occurring.

          - CGI: Sends a CGI command when an event occurs.

        - In addition to the post-event actions mentioned above, it shall be able to set any monitor or groups of monitors to automatically change layouts so that the new layout displays cameras in response to events or alarm inputs.

        - In response to alarm inputs, it shall automatically display cameras in interest and generate an instant viewer which displays live video or playback.

        - SSM shall automatically reset events and alarms or provide users to handle with post-event actions.

        - It shall be able to switch screen layout automatically in response to an event or alarm.

      - The software shall provide the status of cameras, NVRs, DVRs, and other devices including doors registered to the system. The visualization of status shall be of graphical icons and the change in status shall be kept as an indexed log to be searched on demand.

      - The software shall provide a graphical user interface including a web interface containing the status of modules, devices, network, recording, live streaming, and events.

### Text Device

      - The software shall provide an interface for PoS devices registered to NVRs. The software shall be able to receive a transactional data generated from PoS devices in text forms and display it along with the live and playback of video. The text data shall be the texts printed on the receipts resulted from the transaction and the video shall be the live streaming from the cameras which have been assigned to the corresponding PoS devices or the video recorded at the time of transaction.

      - The number of PoS devices and the cameras that can be assigned shall depend on the specification of the NVRs used to connect PoS and SSM. Similarly, the supported encoding type of texts shall depend on the specification NVRs to which PoS devices are registered.

      - The software shall provide a list of receipts or the text data generated from the PoS devices. Up to 50 receipts shall be listed and it shall be listed in the order of transaction. Moreover, video which has been recorded at the time of transaction shall be played upon selection of the receipt.

      - The software shall provide a graphical user interface to search for transactions based on the purchased items, amount of transactions, keyword, time and date. The video recorded at the time of transaction shall also be searched and displayed along with the receipt.

### Third Party Integration

      - Integration of third party systems through Transaction Server

        - Transaction Server shall be an optional module of SSM allowing the integration of supported third party systems. The list of supported third party systems is as below.

            - Wisenet Access Control System (WACS)

            - ANPR

            - Wisenet Road AI

        - Transaction Server shall support OPC for communication between industrial devices from different manufacturers.

        - Transaction Server shall be registered to SSM and provide a web interface to add the third party systems. One Transaction Server shall be registered per system.

        - Event, Command, and Monitoring

          - Transaction Server shall be able to receive events from the third party systems and send it to SSM. All communication between the third party systems and Transaction Server shall be kept as logs in SSM. The events that Transaction Server can receive from the third party systems are following.

            - Access Control Events

            - Intrusion Detection  Events

          - Transaction Server shall be able to send all of the events generated by SSM to OPC servers.

          - Transaction Server shall be able to send commands to the external systems. SSM shall provide a graphical user interface including a web and map interface for commands and all commands shall be kept as logs in SSM. The applicable commands are following.

            - Door Open

            - Door Close

          - SSM shall provide a graphical user interface for real-time monitoring of events from the external systems.

          - SSM shall be able to run post-event action when it receives events from Transaction Server. The post-event actions are as following

            - Start Preset and Tour

            - Activate Relay

            - Send e-mail

            - Activate Sound

            - Instant Viewer

            - Message Pop-up

            - Open/Close Door

            - Start monitor/wall/tile spot on a video wall

      - Integration of third party systems through SDK

        - The provider shall have SDK available for external vendors to adapt SUNAPI protocol and allow integration of their devices to SSM.

### Monitoring Clients

      - Monitoring clients, which is a part of client software, shall be available in a stand-alone along with other modules in a single PC or as a distributed solution in remote sites. Multiple clients shall be able to access SSM simultaneously and the maximum number of simultaneous clients that can assess shall be up to five per server.

      - Monitoring clients shall provide live video in layouts and tile pattern specified by the users along with events, logs, device information and other surveillance related information.

      - Monitoring clients shall be able to receive events and send commands to the third party systems that have been integrated to SSM.

      - Monitoring clients shall be able to search events, video, and text data based on time and date, and type.

      - Monitoring clients shall provide a report on status of each module in the system. The report shall include IP address, connection status, memory usage, bits per second, CPU usage, total HDD capacity, and current HDD usage.

      - Monitoring clients shall provide the following information, if the storage system is configured as RAID.

        - Number of virtual disks in normal condition.

        - Number of virtual disks in abnormal condition. Abnormal condition includes partially degraded, degraded and offline.

        - Number of physical disks in normal condition.

        - Number of physical disks in abnormal condition. Abnormal condition includes offline, not configured good, not configured bad, failed, rebuild, foreign, and hot spare.

      - Monitoring clients shall include live viewer, event viewer, search viewer, Google map viewer, and plug-in viewer.

        - Live Viewer

          - The live viewer shall display status indicator of devices. The status indicator shall be able to express the following status.

            - Video loss

            - Disconnected

            - Maximum number of users exceeded

            - Camera off or in covert mode.

          - The live viewer shall display device properties and shall be able to direct users to device setup page.

          - The live viewer shall provide a search menu for devices based on names, order of registration, types, and connection status.

          - The live viewer shall provide a graphical user interface to turn on or off the alarms connected to SSM.

          - The live viewer shall provide up to 132 split screen mode.

          - The live viewer shall be able to display videos in multiple monitors. The maximum number of monitors that single client software can handle is four. Client software shall be able to designate a monitor as a main and others as expanded monitors.

          - The live viewer shall be able to display videos in layouts and tile patterns defined in Configuration Manager and the definable layouts shall include camera layouts and map layouts. The format of map shall be of an image and both 2D and 3D maps shall be supported.

          - The live viewer shall provide Virtual Matrix Controller which can retrieve and edit settings, and apply changes to Virtual Matrix, a module to control video wall, if it is installed. The following functions shall be available in Virtual Matrix Controller.

            - Configure wall layout, sequence and spot.

            - Configure monitor layout, sequence, and spot.

            - Configure OSD for wall and monitor.

          - The live viewer shall provide audio broadcasting through the speakers installed in the cameras. The software shall be added to a broadcasting group and broadcasting for selected cameras shall start simultaneously. The format of audio shall be .mp3 and .wav.

          - The live viewer can perform two-way communication with a microphone and a speaker.

          - The live viewer shall support PTZ control with a graphical user interface allowing users to control PTZ cameras using a mouse. The control shall include the following functions.

            - Pan, Tilt, and Zoom

            - Sensitivity configuration

            - Focus adjustment

            - Zoom adjustment

            - Preset, Tour, Swing, Autopan, Group, Scan

            - DIS

            - Auto tracking

            - Iris control

          - The live viewer shall display a list of events from all connected devices. It shall also be able to filter events based on types. The list shall contain status and type of events, device types, user information, event time, and time of acknowledgement, and description. Upon selection of an event in the list, the live viewer shall display an instant viewer with live video or playback of video recorded at the time of event.

          - The live viewer shall display snapshots of event taken at the time of occurrence. Up to 500 snapshots shall be stored.

          - The live viewer shall provide an instant playback on a tile that was previously used for live video. The playback shall be the video recorded 30 seconds prior to the current time and the video control shall include step by frames, forward/backward fast play, pause/play and speed of play.

          - The live viewer shall allow users to capture screens with an option to include display information. The image format shall be either jpg or bmp.

          - The live viewer shall provide manual recording of video to HDDs installed in the PC.

          - The live viewer shall be able to zoom in or out digitally using the video streamed from devices.

          - The live viewer shall have four modes to display video from fish-eye cameras. The modes are following.

            - Over view: 				Original image

            - Panorama: 				The panoramic image split into top and bottom.

            - 4-way split screen: 			Split into four screens.

            - Single view:				Image displayed in a single view.

            - 1 over view + 3 rectangles:		One original image and 3 way split images.

            - The live viewer shall provide interface for PoS devices registered through NVR. It shall display receipts along with live video.

        - Event Viewer

          - The event viewer shall provide real-time event monitoring, search based on device type, event type, and date/time.

          - The types of events are following.

            - SSM events

              - Users

              - System

            - Camera events

              - System events

              - Motion detection

              - Video loss

              - Video analytics

              - Pass/Enter/Exit

              - Appearing/Disappearing

              - Tempering

              - Face recognition

              - Audio detection

              - Object detection (AI)

            - HA events

              - No standby client

              - Standby client broken

              - Fail-over successful

              - Fail-over failed

              - Fail-back successful

              - Fail-back failed

          - The event viewer shall be able to filter events by time and mark dates that contain search results bold on a calendar.

        - Search Viewer

          - The search viewer shall allow users to search video, events, text, audit log data based on types, time and date, and devices.

          - The search viewer shall allow users to search person, face, vehicle, and LP(LPR) based on the attributes of the object.

### LADP (Lightweight Directory Access Protocol)

      - The software shall be able to import user information from LDAP server.

      - Synchronization shall be done periodically between LDAP server and SSM.

      - The number of LDAP server that can be registered to SSM shall be one and the user information that exists in both LDAP server and SSM shall be overwritten by the information from LDAP server. Furthermore, login shall not be allowed without LDAP server for users imported from LDAP server.

      - The software shall have Enterprise license to be able to synchronize with LDAP server.

### Failover

      - The software shall be able to detect faults in primary PCs caused by network, hardware or system error and initiate failover so that the secondary (standby) PCs can replace primary PCs until the recovery.  When primary PCs are recovered, failback shall be initiated transferring all the data that was sent to the secondary to the primary.

      - The primary PCs shall send signal every second and if there is no signal for more than 20 seconds, the software shall initiate failover.

      - The software shall be able to restore all the video recorded during the failover to the HDDs designated by the users and shall provide a search menu in the monitoring clients for the corresponding video. The restore HDDs shall include both internal and external storage over network.

      - The software shall provide a status of the transmission from the secondary to primary, and shall provide an option to cancel the transfer to the users.

      - The software shall display the status of each modules configured for failover using graphical icons.

### Federation

      - The software shall support a hierarchical management of multiple SSM through federation.

      - Low level system shall be able to send device information, events and media to high level systems once federation is established.

      - A high level system shall be allowed to be a low level system of others and a high level shall be allowed to have multiple low levels. In addition, a high level shall have access to device information, events, and media from all of its low levels.

      - All of the system in federation shall have paid license to establish connection.

      - Synchronization among the systems in federation shall be done periodically or manually.

      - The events that can be sent to the high levels shall be selectable and selected events shall be sent to the high level at once. The events shall include the following.

        - SSM  Events

          - No StandBy Client

          - Standby Client Broken

          - FailOver Succeeded

          - FailOver Failed

          - FailBack Succeeded

          - FailBack Failed

          - HA Active client recording data recovery failure (network disconnection/full disk/no response)

          - HA Standby client recording data recovery failure(network disconnection / no file)

        - Device Events

          - Device Disconnected

          - Disk is Full

          - Failed to write

          - Fan Fail

          - Device ShutDown

          - Power Recovery

          - Network Recovery

          - RAID Rebuild Fail

          - RAID Error

        - Camera Events

          - Motion Detection

          - Video Loss Event

          - Passing

          - Entering

          - Exiting

          - Appearing (Disappearing)

          - Tampering

          - Audio Detection

        - Sensor Events

          - Sensor

        - Access Control Events

          - Input Signal Occurred

          - Input Signal Released

          - System setup mode

          - Input Disconnect

        - Access Control Door Events

          - Access Granted

          - Access Denied

          - Invalid Time Schedule

          - Antipassback(Entry)

          - Antipassback(Exit)

          - Invalid password

          - Access Door Error

          - Biometrics Error

          - Duress Alarm

          - Arm

          - Disarm

          - Overtime Door Opened

          - Overtime Door Closed

          - Forced Door Opened

          - 2Men - Time Out

          - Access trial while armed

          - Door status changed

        - Intrusion Detection Events

          - Burglary alarm has occurred.

      - High levels shall be allowed to register devices from low level and configure event handling rules with devices from low levels.

### Schedule Backup

      - The software shall provide an automatic and periodic backup function to the users.

      - The software shall be able to start the backup from multiple storage devices registered to SSM at a time set by the users.

      - The software shall provide following options for schedule backup.

        - Daily Backup: The software shall start the backup of video that was recorded a day ago from the starting time of schedule backup. It shall allow users to select which time in a day to backup as well as the backup of whole video. The starting time shall be set by the users.

        - Weekly Backup: The software shall start the backup of video that was recorded a week ago from the starting time of schedule backup. It shall allow users to select which time in a day to backup and the time selection shall be customizable for each day in a week. Full backup of entire video in a week shall also be allowed. The starting day shall be any day from Monday to Sunday in a week specified by the user.

      - The software shall allow multiple schedule backup from multiple storage devices to start simultaneously. The maximum number of concurrent backup shall be customizable.

      - The software shall provide options for file format of the backup video. The file format shall be either SEC or AVI format. SEC format shall provide a backup viewer along with the video and shall allow users to set password. In addition, SEC format shall provide options for video protection including digital signature and watermark.

      - The software shall provide options for maintaining a minimum space of HDD designated for backup and file retention period. Furthermore, it shall support overwrite of data when the disk is full.

      - The software shall provide options for retry during network disconnection. The options shall include retry period and number of retries.

      - The software shall be able to store backup videos to NAS devices.

### Auto Recovery Backup

      - The software shall support auto recovery backup, a backup mechanism for cameras to store videos to its SD memory cards during network disconnection and transmit to the recording service once network is recovered.

      - The interval that has been transferred by auto recovery backup shall be marked with different color in a time bar and the coloring shall be customizable.

### Export

      - The software shall be able to export sections of recordings to a separate Windows folder, which can then be written to CD-ROM, DVD-ROM or USB Flash Drives etc. to be played back at a location not connected to the network video management & recording network. The export process shall make available a player application, which can be provided with the exported video. Export shall be possible in Windows media player or any other media player compatible format. Simultaneous export of multiple cameras shall also be possible

      - The following video formats are available for video export.

        - SEC: This format shall provide a player application, measure for video authenticity, password settings, time lines, and others.

        - AVI: This format shall be compatible with Windows media player or any other media player such as VLC player.

### Map Layout

#### Map Layout

        - The software shall support a map based layout allowing users to import an image file and add devices on top of it for location based surveillance.

        - The software shall allow live streaming and map to be on the same screen. In addition, it shall provide multiple split-screen modes with maps.

        - The software shall provide configuration of coordinate on a map layout using x and y values or longitude and latitude values.

        - Monitoring of event shall be available on the map.

        - The software shall provide procedure in a video tile along with map layout.

        - The operator shall be able to add icons to maps. In addition, the operator shall be able to click on an icon in a map to initiate PTZ camera, preset, run PTZ pattern, view camera in an analog monitor, send an I/O, control doors, or handle alarms and events.

### Video Profile Setting

      - The software shall support automatic profile switching of videos for efficient management of live monitoring in Console Studio. In addition, it shall allow users to choose profiles for live monitoring, recording, and event recording. Profiles shall include video codec, resolutions, frame rates and other video settings and shall reflect settings in cameras. Software shall allow users to choose H.264, H.265, MJPEG as video codec, resolutions up to 8k UHD, and frame rates up to 120fps.

        - Live monitoring (High/Low Profile) in Client Software

          - The software shall be able to switch automatically from one video profile with comparatively high quality settings to another with low settings based on the rule set by the users. The rule shall be based on the split-screen mode and the video profiles are the ones defined in the cameras. The quality settings shall be as below.

            - Resolution

            - Frame rate

            - Quality

            - Compression

            - Bitrate control

            - Bitrate

            - GOP size

        - Live monitoring in mobile application

          - The software shall allow users to select a profile for streaming to mobile. The profile shall be defined in cameras.

        - Recording profile

          - The software shall allow users to select a profile for recording. The profile shall be defined in cameras.

        - Event recording

          - The software shall allow users to select a profile for event recording if event recording is activated. The profile shall be defined in cameras.

          - At the time of event, the software shall automatically switch to the profile set by the user for event recording and after event is terminated, it shall switch to the profile set for normal recording.

### Dashboard

      - The software shall provide Dashboard, a web based management solution to display status of devices such as cameras and NVRs, modules in SSM, network, events, and logs.

      - Dashboard shall require no installation and shall be based on HTML 5. It shall be compatible with web browsers including Chrome, Internet Explorer, FireFox, Opera, and Safari.

      - Dashboard shall report events in graph organized by types, severity, location, and time of occurrence.

      - Dashboard shall display detailed status and information of device and modules. The information shall be as below.

        - CPU usage

        - Memory Usage

        - Network Usage

        - Disk Usage

        - Trend and analysis of usages mentioned above in graphs

      - Dashboard shall be able to track and sort user activities based on action types, date, status, source, location, and severity.

### ANPR

#### The software installed ANPR license, supports ANPR events.

### Supported Devices

      - The software shall support Techwin’s network products including network cameras, and NVRs. It shall also support analog cameras through encoders and DVRs.

      - The software shall be able to connect cameras from other manufacturers through ONVIF.

      - The software shall be able to integrate third party systems through Transaction Server or SDK.

## DETAILED SPECIFICATIONS

### Function

#### Video

#### Supported formats 		H.264, H.265, MPEG-4, MJPEG

#### Supported resolutions 	Depends on supported devices

#### Audio

#### Supported formats 		G.711 μ-law (PCM), G.723, G.726 (ADPCM), AAC codec

#### Function 			Bidirectional Audio (Listen/Talk)

#### Live monitoring

#### Monitoring 			Supports up to 64 channels per monitoring tab,

#### Supports 4 monitoring tabs.

## Simultaneously monitors up to 128 videos.

#### Split screen mode 		1, 4, 8, 9, 16, 17, 25, 36, 49, 64, 72, 81, 100, 121, 132, custom

#### * User-created layout patterns can be used.

#### Sequence mode 		Restricted to16-Split

#### Digital zoom		Icon or mouse wheel control support

#### PTZ control 		Zone zoom, 1x zoom shortcut, PTZ sensitivity,

#### focus, zoom, patrol, swing, group,

#### trace, preset, aperture control

#### Map monitoring 		Map layout split screen, zoom in/out,

#### video popup (instant viewer), icons of camera /

#### alarm input / alarm output displayed on the map

#### Easy video storage 		Saves a selected video for up to 1 hour

#### Other features 		OSD on/off, print/capture, brightness/contrast control,

#### aspect ratio/original size, flip, digital zoom

#### Search and playback

#### Search mode 		Date search, event search, Motion search, smart search,

#### POS search

#### Play 			16-channel playback synchronization, Play/stop,

#### pause, fast forward/fast backward

#### Export 			Export video, export privacy video, export one-time schedule

#### Other features 		Bookmarks, show/hide OSD, print/capture, brightness/contrast,

#### digital zoom

#### Event monitoring

#### Real-time event list 		Real-time event list of a device

#### (event status, type, device, user, occurrence time

#### (PC)) is provided. View a corresponding event video.

#### Event search

#### Wisenet SSM: User, System

#### Device: system, camera, alarm input, alarm output

#### Camera: Video loss, motion detection, crossing, enter, exit,

#### appear(disappear), tampering detection, face detection, audio detection.

Object detection with AI

#### Report 			Manual report function (events and event statistics)

Export with csv format

#### Event approval 		Normal/abnormal/other settings and approvals

#### History 			Details verified for an event selected in the list

#### Instant Viewer (Live) 	Selected channel live view, event approval,

#### event contents recording, event status handling

#### Instant Viewer (Playback) 	Playback of recorded video of event channel

#### Event action 		Device event-based system behavior settings

#### (Action type: instant viewer, preset, alarm output, message

#### popup, sound, email notification)

### Configuration

#### Configuration Manger

#### Device 	Domain management, SSM server settings, disk info, save settings

#### Device/camera registration, profile, preset, firmware upgrade, backup/restore settings, password change, setting page interworking

#### Design

#### Site management, layout / map management, user pattern addition

#### Event

#### Whether or not to use by event, priority setting, event operation

#### System

#### User / user group management, log, backup/restore/initialize settings, login lock,

#### Change password, HTTPS, email, schedule, license, federation, LDAP

#### Setup

#### General

#### Language, startup options, screen lock / logout, capture, save, streaming protocol,

#### system controller

#### Screen

#### OSD display, image quality setting (anti-aliasing, streaming buffer,

#### whether to use I-frame, high resolution setting, CUDA decoder)

#### Event

#### Sound, instant viewer, PTZ sequence, recording, e-mail notification, HTTP(CGI) sender

#### Supported languages

#### Korean, English, French, German, Spanish, Italian, Chinese, Japanese, Portuguese

#### Dutch, Traditional Chinese, Russian, Swedish, Danish, Turkish, Polish, Czech,

#### Romanian, Serbian, Croatian, Hungarian, Greek, Norwegian, Thai, Finnish, Arabic, Vietnamese

#### Supported devices

#### Hanwha Techwin network camera/encoder, DVR/NVR, ONVIF camera

        - RTSP supported device (image only)

#### Configuration module

#### Console Client, Core Server

#### Time synchronization

#### NTP Server

END OF SECTION

# EXECUTION

## INSTALLERS

    - Contractor personnel shall comply with all applicable state and local licensing requirements.

## PREPARATION

    - The network design and configuration shall be verified for compatibility and performance with the software.

    - Network configuration shall be tested and qualified by the Contractor prior to installation.

    - All software shall be the latest and most up-to-date provided by the manufacturer, or of a version as specified by the provider of the Video Management Application (VMA) or Network Video Recorder (NVR).

    - All equipment requiring users to log on using a password shall be configured with user/site-specific password/passwords. No system/product default passwords shall be allowed.

## INSTALLATION

    - The Contractor shall carefully follow instructions in documentation provided by the manufacturer to insure all steps have been taken to provide a reliable, easy-to-operate system.

    - All software shall be tested and configured in accordance with instructions provided by the manufacturer prior to installation.

    - Before permanent installation of the system, the Contractor shall test the system in conditions simulating the final installed environment.

END OF SECTION

8